## References (hidden)
DO NOT EDIT
[8 empty] | Chillers |  |  |  | *From NYS Code 2015/ASHRAE 2010/IECC 2012
Tab Names | Inspection Tab Names | TS Inspect |  | Project Type |  |  |  | Equipment | Min Size | Max Size | Units | Baseline Full Load | Baseline IPLV | Minimum Full Load | Minimum IPLV | Incentive/ton | Additional Incentive | [18 empty] | Product Name | NTG Value | Coincidence Factor | Line Loss kW summer | Line Loss kWh | Free Ridership | Spillover | Winter Coincidence
Worksheet | Inspection | Existing |  | 0 | Please Select Project Type |  |  | Water Cooled, positive displacement < 75 | 0 | 75 | kW/ton | 0.78 | 0.63 | 0.702 | 0.525 | 15 | 8 | ton for each 0.01 kw/ton below min. criteria | [17 empty] | Water Cooled Centrifugal Chiller | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! | #REF! | New | [5 empty] | Water Cooled, positive displacement ≥ 75 and < 150 | 75 | 150 | kW/ton | 0.775 | 0.615 | 0.698 | 0.525 | 15 | 8 | ton for each 0.01 kw/ton below min. criteria | [17 empty] | Water Cooled Chillers >= 150 Tons and <300 Tons | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! | [7 empty] | Water Cooled, positive displacement ≥ 150 and < 300 | 150 | 300 | kW/ton | 0.68 | 0.58 | 0.612 | 0.473 | 15 | 2 | ton for each 0.01 kw/ton below min. criteria | [17 empty] | Water Cooled Chillers >= 30 Tons and <150 Tons | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! | [7 empty] | Water Cooled, positive displacement ≥ 300 | 300 | None | kW/ton | 0.62 | 0.54 | 0.588 | 0.43 | 18 | 3 | ton for each 0.01 kw/ton below min. criteria | [17 empty] | Water Cooled Chillers >= 300 Tons and <1000 Tons | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! | [7 empty] | Water Cooled, centrifugal < 150 | 0 | 150 | kW/ton | 0.634 | 0.596 | 0.571 | 0.394 | 15 | 8 | ton for each 0.01 kw/ton below min. criteria | [17 empty] | Cool Roof | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! |  |  |  |  | VFD HP |  |  | Water Cooled, centrifugal ≥ 150 and < 300 | 150 | 300 | kW/ton | 0.634 | 0.596 | 0.571 | 0.394 | 15 | 2 | ton for each 0.01 kw/ton below min. criteria | [17 empty] | Electric Steamer | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! |  |  |  |  | Existing Building | New Construction |  | Water Cooled, centrifugal ≥ 300 and < 600 | 300 | 600 | kW/ton | 0.576 | 0.549 | 0.516 | 0.39 | 12 | 2 | ton for each 0.01 kw/ton below min. criteria | [17 empty] | Commercial Convection Oven | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! |  |  |  |  | 13 | 6 |  | Water Cooled, centrifugal ≥ 600 and <1000 | 600 | 1000 | kW/ton | 0.57 | 0.539 | 0.513 | 0.35 | 12 | 2 | ton for each 0.01 kw/ton below min. criteria | [17 empty] | Commercial Electric Griddle | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! | #REF! |  |  |  | 5 | 5 | [29 empty] | Commercial Fryer - Deep Fat | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! | #REF! |  |  |  | 7.5 | 7.5 | [29 empty] | Low Flow Pre-Rinse Spray Valve | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! |  |  |  |  | 10 | 10 | [29 empty] | Insulated Holding Cabinet - Full Size | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! |  |  |  |  | 15 | 15 | [29 empty] | Insulated Holding Cabinet - 3/4 Size | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! |  |  |  |  | 20 | 20 |  | Water Cooled, positive displacement < 75 | Water Cooled Chillers >= 30 Tons and <150 Tons | WCPD-1 | [25 empty] | Insulated Holding Cabinet - 1/2 size | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
#REF! |  |  |  |  | 25 | 25 |  | Water Cooled, positive displacement ≥ 75 and < 150 | Water Cooled Chillers >= 30 Tons and <150 Tons | WCPD-2 | [25 empty] | Thermal Storage | 93% | 100% | 7.19% | 5.67% | 0% | 0% | 0%
#REF! | #REF! |  |  |  | 30 |  |  | Water Cooled, positive displacement ≥ 150 and < 300 | Water Cooled Chillers >= 150 Tons and <300 Tons | WCPD-3 |  | VFD Offsets | [23 empty] | Air Compressor-VD | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[5 empty] | 40 |  |  | Water Cooled, positive displacement ≥ 300 | Water Cooled Chillers >= 300 Tons and <1000 Tons | WCPD-4 |  | BEF | CTF | CWP | RFA | SFA | WHP | [18 empty] | Air Compressor-VSD | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[5 empty] | 50 |  |  | Water Cooled, centrifugal < 150 | Water Cooled Chillers >= 30 Tons and <150 Tons | WCC-1 | [25 empty] | Compressor Accessories - Cycling Dryers | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[5 empty] | 60 |  |  | Water Cooled, centrifugal ≥ 150 and < 300 | Water Cooled Chillers >= 150 Tons and <300 Tons | WCC-2 |  | CF | CF | CF | CF | CF | CF | [18 empty] | Compressor Accessories - Variable Speed Dryers | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[5 empty] | 75 |  |  | Water Cooled, centrifugal ≥ 300 and < 600 | Water Cooled Chillers >= 300 Tons and <1000 Tons | WCC-3 |  | IV | IV | TV | IV | IV | TV | [15 empty] | EB LED Refrigerated Case Lighting (Refrigerator) - R101 |  |  | Compressor Accessories - Storage | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[5 empty] | 100 |  |  | Water Cooled, centrifugal ≥ 600 and <1000 | Water Cooled Chillers >= 300 Tons and <1000 Tons | WCC-4 |  | OD | OD |  | OD | OD | [16 empty] | EB LED Refrigerated Case Lighting (Freezer) - R102 |  |  | LED Parking Garage Lighting - PL100 |  | 75% | 7.19% | 5.67% | 8% | 0%
[5 empty] | 200 | [30 empty] | LED 1x4 Linear Panel - PL700 |  | 75% | 7.19% | 5.67% | 8% | 0%
Application Type | Status | [34 empty] | LED 2x4 Linear Panel - PL710 |  | 75% | 7.19% | 5.67% | 8% | 0%
Chiller | FALSE |  |  |  | Project Type |  |  | Air Cooled Chiller | [27 empty] | LED 2x2 Linear Panel - PL720 |  | 75% | 7.19% | 5.67% | 8% | 0%
Compressed Air | FALSE |  |  |  | Select… |  |  | Water Cooled Chiller | [27 empty] | LED Ambient Linear Luminaire - PL734 |  | 75% | 7.19% | 5.67% | 8% | 0%
Cool Roof | FALSE |  |  |  | Existing Building |  |  | Other | [27 empty] | LED Low Bay Fixtures - PL810 |  | 75% | 7.19% | 5.67% | 8% | 0%
HVAC (New) | FALSE |  |  |  | New Construction | [30 empty] | LED High Bay Fixtures - PL820 |  | 75% | 7.19% | 5.67% | 8% | 0%
AC Replacement | FALSE | [10 empty] | BEF CF |  | BEF CF | Building Exhaust Fan (Constant Flow) |  | Fan | VFD-Fans (Uncontrolled) | [17 empty] | LED Downlights < 1000 lumens - PL600 |  | 75% | 7.19% | 5.67% | 8% | 0%
Retrofit Lighting | FALSE | [10 empty] | BEF IV |  | BEF IV | Building Exhaust Fan (Inlet Vane) |  | Fan | VFD-Fans (Inlet Vane) | [17 empty] | LED Downlights > 1000 lumens - PL610 |  | 75% | 7.19% | 5.67% | 8% | 0%
New Lighting | FALSE | [10 empty] | BEF OD |  | BEF OD | Building Exhaust Fan (Outlet Damper) |  | Fan | VFD-Fans (Outlet Damper) | [17 empty] | Occupancy Sensor Wall Switch - PLC100 |  | 75% | 7.19% | 5.67% | 8% | 0%
Kitchen/Vending | TRUE | [10 empty] | BEF TV |  | CTF CF | Cooling Tower Fan (Constant Flow) |  | Fan | VFD-Fans (Uncontrolled) | [17 empty] | Occupancy Sensor Remote / Ceiling mounted - PLC200 |  | 75% | 7.19% | 5.67% | 8% | 0%
Refrigeration | FALSE | [10 empty] | CTF CF |  | CTF IV | Cooling Tower Fan (Inlet Vane) |  | Fan | VFD-Fans (Inlet Vane) | [17 empty] | Occupancy Sensor Fixture Mounted - PLC300 |  | 75% | 7.19% | 5.67% | 8% | 0%
VFD | FALSE |  |  |  | Rebate Payment Method | [6 empty] | CTF IV |  | CTF OD | Cooling Tower Fan (Outlet Damper) |  | Fan | VFD-Fans (Outlet Damper) | [17 empty] | Daylight Dimming Fluorescent - PLC400 |  | 75% | 7.19% | 5.67% | 8% | 0%
Custom | FALSE |  |  |  | Select… | [6 empty] | CTF OD |  | CWP CF | Chilled/Condenser Water Pump (Constant Flow) |  | Pump | VFD-Cooling Pumps (Uncontrolled) | [17 empty] | Occupancy Controlled Hi-Low Fluorescent - PLC600 |  | 75% | 7.19% | 5.67% | 8% | 0%
New Equipment | FALSE |  |  |  | Check to Customer | [6 empty] | CTF TV |  | CWP TV | Chilled/Condenser Water Pump (Throttle Valve) |  | Pump | VFD-Cooling Pumps (Throttle Valve) | [17 empty] | Daylight Sensor Fixture Mounted Fluorescent - PLC700 |  | 75% | 7.19% | 5.67% | 8% | 0%
Replacement Equipment | FALSE |  |  |  | Assigned to Contractor | [6 empty] | CWP CF |  | FWP CF | Boiler Feed Water Pump (Constant Flow) |  | Pump | VFD-Cooling Pumps (Uncontrolled) | [17 empty] | Building Exhaust Fan (Constant Flow) |  | 80% | 7.19% | 5.67% | 36% | 0%
LEED | FALSE | [10 empty] | CWP IV |  | FWP TV | Boiler Feed Water Pump (Throttle Valve) |  | Pump | VFD-Cooling Pumps (Throttle Valve) | [17 empty] | Building Exhaust Fan (Inlet Vane) |  | 80% | 7.19% | 5.67% | 36% | 0%
LEED - EBOM | FALSE | [10 empty] | CWP OD |  | RFA CF | HVAC Return Air Fan (Constant Flow) |  | Fan | VFD-Fans (Uncontrolled) | [17 empty] | Building Exhaust Fan (Outlet Damper) |  | 80% | 7.19% | 5.67% | 36% | 0%
LEED - CI | FALSE | [10 empty] | CWP TV |  | RFA IV | HVAC Return Air Fan (Inlet Vane) |  | Fan | VFD-Fans (Inlet Vane) | [17 empty] | Cooling Tower Fan (Constant Flow) |  | 80% | 7.19% | 5.67% | 36% | 0%
Thermal Storage | TRUE | [12 empty] | RFA OD | HVAC Return Air Fan (Outlet Damper) |  | Fan | VFD-Fans (Outlet Damper) | [17 empty] | Cooling Tower Fan (Inlet Vane) |  | 80% | 7.19% | 5.67% | 36% | 0%
[14 empty] | SFA CF | HVAC Supply Air Fan (Constant Flow) |  | Fan | VFD-Fans (Uncontrolled) | [17 empty] | Cooling Tower Fan (Outlet Damper) |  | 80% | 7.19% | 5.67% | 36% | 0%
| Operating Hours Lookup Tables | [12 empty] | SFA IV | HVAC Supply Air Fan (Inlet Vane) |  | Fan | VFD-Fans (Inlet Vane) | [17 empty] | Chilled/Condenser Water Pump (Constant Flow) |  | 80% | 7.19% | 5.67% | 36% | 0%
[14 empty] | SFA OD | HVAC Supply Air Fan (Outlet Damper) |  | Fan | VFD-Fans (Outlet Damper) | [17 empty] | Chilled/Condenser Water Pump (Throttle Valve) |  | 80% | 7.19% | 5.67% | 36% | 0%
|  |  | Select… | [10 empty] | WHP CF | Water Source HP Circulator Pump (Constant Flow) |  | Pump | VFD-Cooling Pumps (Uncontrolled) | [17 empty] | Boiler Feed Water Pump (Constant Flow) |  | 80% | 7.19% | 5.67% | 36% | 0%
| Cool Roofs |  |  |  | Lighting | [8 empty] | WHP TV | Water Source HP Circulator Pump (Throttle Valve) |  | Pump | VFD-Cooling Pumps (Throttle Valve) | Select… | [16 empty] | Boiler Feed Water Pump (Throttle Valve) |  | 80% | 7.19% | 5.67% | 36% | 0%
| Bldg Type | kWh saved/sq ft |  |  | Select… |  | Annual Hours | [28 empty] | HVAC Return Air Fan (Constant Flow) |  | 80% | 7.19% | 5.67% | 36% | 0%
1 | College | 0.27 |  | 7 | Office |  | 3013 | [28 empty] | HVAC Return Air Fan (Inlet Vane) |  | 80% | 7.19% | 5.67% | 36% | 0%
2 | Grocery | 0.187 |  | 9 | Restaurant |  | 4182 | [28 empty] | HVAC Return Air Fan (Outlet Damper) |  | 80% | 7.19% | 5.67% | 36% | 0%
3 | Health | 0.169 |  | 10 | Retail |  | 3463 |  |  |  |  | hours |  | kW savings % |  |  |  |  | kWh savings % | [16 empty] | HVAC Supply Air Fan (Constant Flow) |  | 80% | 7.19% | 5.67% | 36% | 0%
4 | Hospitals | 0.187 |  | 2 | Grocery |  | 4055 |  |  |  | Building Type | Pump | Fan | VFD-Fans (Uncontrolled) | VFD-Fans (Inlet Vane) | VFD-Fans (Outlet Damper) | VFD-Cooling Pumps (Uncontrolled) | VFD-Cooling Pumps (Throttle Valve) | VFD-Fans (Uncontrolled) | VFD-Fans (Inlet Vane) | VFD-Fans (Outlet Damper) | VFD-Cooling Pumps (Uncontrolled) | VFD-Cooling Pumps (Throttle Valve) | [12 empty] | HVAC Supply Air Fan (Inlet Vane) |  | 80% | 7.19% | 5.67% | 36% | 0%
5 | Hotels/Motels | 0.232 |  | 12 | Warehouse |  | 2602 |  |  |  | Office | 1343 | 6192 | 11.1% | 4% | 9.9% | 9.3% | 4.9% | 0.55 | 0.34 | 0.465 | 45.2% | 37.2% | [12 empty] | HVAC Supply Air Fan (Outlet Damper) |  | 80% | 7.19% | 5.67% | 36% | 0%
6 | Manufacturing | 0.118 |  | 11 | School |  | 2187 |  |  |  | Retail | 1591 | 3261 | 11.1% | 4% | 9.9% | 9.3% | 4.9% | 0.513 | 0.314 | 0.432 | 40.6% | 32.9% | [12 empty] | Water Source HP Circulator Pump (Constant Flow) |  | 80% | 7.19% | 5.67% | 36% | 0%
7 | Other/Miscellaneous | 0.169 |  | 1 | College |  | 2187 |  |  |  | Manufacturing | 1890 | 5573 | 11.1% | 4% | 9.9% | 9.3% | 4.9% | 0.411 | 0.212 | 0.325 | 47.3% | 39.1% | [12 empty] | Water Source HP Circulator Pump (Throttle Valve) |  | 80% | 7.19% | 5.67% | 36% | 0%
13 | Other | 0.211 |  | 3 | Health |  | 7666 |  |  |  | Hospitals | 3584 | 8374 | 11.1% | 4% | 9.9% | 34.6% | 25.7% | 0.206 | 0.09 | 0.157 | 26.7% | 19.5%
8 | Religious | 0.168 |  | 4 | Hospitals |  | 7674 |  |  |  | School | 1037 | 3699 | 11.1% | 4% | 9.9% | 34.6% | 25.7% | 0.734 | 0.495 | 0.643 | 27.8% | 20.8%
9 | Restaurant | 0.344 |  | 5 | Hotels/Motels |  | 3064 |  |  |  | Restaurant | 1974 | 4155 | 11.1% | 4% | 9.9% | 9.3% | 4.9% | 0.455 | 0.27 | 0.379 | 41.5% | 33.3%
10 | Retail | 0.187 |  | 6 | Manufacturing |  | 2857 |  |  |  | Warehouse | 1819 | 6389 | 11.1% | 4% | 9.9% | 9.3% | 4.9% | 0.411 | 0.212 | 0.325 | 47.3% | 39.1%
11 | School | 0.27 |  | 8 | Religious |  | 1955 |  |  |  | Hotels/Motels | 3584 | 3719 | 11.1% | 4% | 9.9% | 34.6% | 25.7% | 0.382 | 0.209 | 0.309 | 39.1% | 30.8%
12 | Warehouse | 0.454 |  | 13 | Other/Miscellaneous |  | 4380 |  |  |  | Grocery | 2416 | 6389 | 11.1% | 4% | 9.9% | 34.6% | 25.7% | 0.532 | 0.318 | 0.443 | 48.8% | 39.9%
[6 empty] | Facility Hours | #N/A |  |  |  | Religious | 1393 | 3720 | 11.1% | 4% | 9.9% | 34.6% | 25.7% | 0.53 | 0.315 | 0.44 | 44.6% | 36.1%
[5 empty] | Source: Optimal Energy 2009 LIPA Algorithm 6 18 09 | [5 empty] | Health | 840 | 1501 | 11.1% | 4% | 9.9% | 34.6% | 25.7% | 0.208 | 0.092 | 0.159 | 25.8% | 18.7%
[11 empty] | College | 2088 | 3631 | 11.1% | 4% | 9.9% | 34.6% | 25.7% | 0.481 | 0.278 | 0.395 | 36.3% | 29.3%
[11 empty] | Other/Miscellaneous | 1393 | 3720 | 11.1% | 4% | 9.9% | 34.6% | 25.7% | 0.53 | 0.315 | 0.44 | 44.6% | 36.1%
| Organization Type | [9 empty] | VFD Baseline Efficiency Table
| Select… | [9 empty] | hp | baseline efficiency
| Government | [9 empty] | 5 | 0.875
| Not Incorporated | [9 empty] | 7.5 | 0.895
| Incorporated | [9 empty] | 10 | 0.895
| Not for Profit | [9 empty] | 15 | 0.91
[11 empty] | 20 | 0.91
[11 empty] | 25 | 0.924
[11 empty] | 30 | 0.924
[11 empty] | 40 | 0.93
[11 empty] | 50 | 0.93
[11 empty] | 60 | 0.936
[11 empty] | 75 | 0.941
[11 empty] | 100 | 0.945 | [5 empty] | Emission Factor (lb CO2 / kWh) | 1.1962
[11 empty] | 200 | 0.95
**Refer to CEP Master Internal for Calculations on "Calculations Tab"
[7 empty] | Refrigeration Measures | [28 empty] | Product Name | NTG Value | Coincidence Factor | Line Loss kW summer | Line Loss kWh | Free Ridership | Spillover | Winter Coincidence
[36 empty] | EB LED Refrigerated Case Lighting (Refrigerator) - R101 | 93% | 94.8% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | No. | Type | Source | Unit | Rebate | Gross kWh Savings (Per Unit) | Gross kW Savings (Per Unit) | Avoided Carbon (lb CO2) | CF | Baseline Watts | Eff Watts | Waste Heat Factor - Energy | Waste Heat Factor - Demand | Hrs of Op | Cooler Type | Motor Type | Combined | DSAVE | ESAVE | Horsepower | System Type | ∆HP | ECM Load | %∆P | %ON∆uc | kWd | %Onnone | %Oncontrol | Comp Eff | EB LED Refrigerated Case Lighting (Freezer) - R105 | 93% | 94.8% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 1 | EB LED Refrigerated Case Lighting (Refrigerator) - R101 | NYS TRM V9 | fixture | 50 | #N/A | 0.066768 | #N/A | 94.8% | 94 | 42 | 1.46 | 1.45 | #N/A | [14 empty] | 1 | EB Walk In Cooler and Freezer evaporator fan control - R200 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 2 | EB LED Refrigerated Case Lighting (Freezer) - R105 | NYS TRM V9 | fixture | 50 | #N/A | 0.080355 | #N/A | 0.948 | 94 | 42 |  |  | #N/A | [14 empty] | 1.92 | EB ECM in Walk In Cooler - R300 | 93% | 153% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 3 | EB Walk In Cooler and Freezer evaporator fan control - R200 | NYS TRM V9 | controlled refrigerator or freezer | 500 |  |  | #VALUE! | 72% | [20 empty] | EB ECM in Walk In Case - R300-N | 93% | 153% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 4 | Case Light Occupancy Controls - R210 | RTF | linear foot | 10 | 9.6 | 0.0010959 | 11.4835 | 72% | [20 empty] | EB ECM in Walk In Case - R310 | 93% | 153% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 5 | Floating Head Pressure Controls - R220 | NYS TRM V9 | hp | 20 |  | 0 | #VALUE! | 0% | [12 empty] | #N/A | [7 empty] | EB ECM in Walk In Case - R310-N | 93% | 153% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 6 | EB ECM in Walk In Cooler - R300 | NYS TRM V9 | unit | 100 | 0 | 2.0945 | 0 | 1.53 |  |  | 1.38 | 1.76 | 8760 | [5 empty] | 0 |  |  | 0.758 | 157% | 0.978 |  |  |  |  | EB Anti-Sweat Heater Controls - R400 | 93% |  | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 7 | EB ECM in Walk In Case - R300-N | 2019 PSEG-LI TRM - Attributes from PSEG-LI Projects | unit | 50 | 862.2 | 0.067 | 1031.3636 | 100% | [20 empty] | Case Light Occupancy Controls - R210 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 8 | EB ECM in Walk In Case - R310 | NYS TRM V9 | unit | 60 | 0 | 2.0945 | 0 | 100% |  |  | 1.38 | 1.76 | 8760 | [5 empty] | 0 |  |  | 0.758 | 157% | 0.978 |  |  |  |  | Floating Head Pressure Controls - R220 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 9 | EB ECM in Walk In Case - R310-N | 2019 PSEG-LI TRM - Attributes from PSEG-LI Projects | unit | 40 | 248.2 | 0.02 | 296.8968 | 1 |  | # of Doors Assumption (2 Doors per 1 ECM) | [18 empty] | ENERGY STAR Refrigerator (Solid Door) - R500 | 93% | 77% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 10 | EB Anti-Sweat Heater Controls - R400 | NYS TRM V9/Mid ATL TRM V10 | controlled refrigerator or freezer | 500 |  | #VALUE! | #VALUE! |  |  | 2 |  |  | 8760 | [11 empty] | 0.13 | 90.7% | 58.9% |  | ENERGY STAR Refrigerator (Glass Door) - R510 | 93% | 77% | 7.19% | 5.67% | 7% | 0% | 0%
[20 empty] | ESTAR UEC | [15 empty] | ENERGY STAR Freezer (Solid Door) - R520 | 93% | 77% | 7.19% | 5.67% | 7% | 0% | 0%
[8 empty] | Type | Source | Unit | Rebate | Gross kWh Savings (Per Unit) | Gross kW Savings (Per Unit) | Avoided Carbon (lb CO2) | EFLH | CF | Adjusted Volume (cubic ft) | Baseline UEC | ESTAR UEC | 0 < V < 15 | 15 <= V < 30 | 30 <= V < 50 | 50 <= V | 15 | 30 | 50 | 50 | [8 empty] | ENERGY STAR Freezer (Glass Door) - R530 | 93% | 77% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 11 | ENERGY STAR Refrigerator (Solid Door) - R500 | Mid-Atlantic TRM v10.0 | unit | 110 | 0 | 0 | 0 | 5858 | 77% | n/a | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | TRUE | [8 empty] | ENERGY STAR Icemaker - R540 | 93% | 90% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 12 | ENERGY STAR Refrigerator (Glass Door) - R510 | Mid-Atlantic TRM v10.0 | unit | 45 | 0 | 0 | 0 | 5858 | 77% | n/a | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | TRUE | [8 empty] | Refrigerator Zero Energy Doors - R550 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 13 | ENERGY STAR Freezer (Solid Door) - R520 | Mid-Atlantic TRM v10.0 | unit | 205 | 0 | 0 | 0 | 5858 | 77% | n/a | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | TRUE | [8 empty] | Freezer Zero Energy Doors - R560 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 14 | ENERGY STAR Freezer (Glass Door) - R530 | Mid-Atlantic TRM v10.0 | unit | 205 | 0 | 0 | 0 | 5858 | 77% | n/a | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | TRUE | [8 empty] | Refrigerator Case Door Retrofit - Install Doors - R570 | 93% | 100% | 7.19% | 5.67% | 7% | 0% | 0%
[36 empty] | Freezer Case Door Retrofit - Install Doors - R580 | 93% | 100% | 7.19% | 5.67% | 7% | 0% | 0%
[8 empty] | Type | Source | Unit | Rebate | Gross kWh Savings (Per Unit) | Gross kW Savings (Per Unit) | Avoided Carbon (lb CO2) | Harvest Rate (lb/day) | System Type | kWh Base | kWh EE | Hours | Cycle | CF |  | Harvest Rate (lb/day) | kWh Savings | kW Savings | [10 empty] | Walk-in Cooler Door Strip Curtains - R590 | 93% | 100% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 15 | ENERGY STAR Icemaker - R540 | NYS TRM V9 | unit | 125 | #VALUE! |  | #VALUE! | 0 | 0 |  |  | 8760 | 0.75 | 0.9 | 500 | <500 | 1652 | 0.1888 | [10 empty] | Walk-in Freezer Door Strip Curtains - R600 | 93% | 100% | 7.19% | 5.67% | 7% | 0% | 0%
[22 empty] | 1000 | 500-1000 | 2695 | 0.3077 | [10 empty] | Refrigerator Case Night Covers - R610 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[8 empty] | Type | Source | Unit | Rebate | Gross kWh Savings (Per Unit) | Gross kW Savings (Per Unit) | Avoided Carbon (lb CO2) | kW_base | kW_ee | Bonus Factor | CF | Hours |  |  |  | >1000 | 6048 | 0.6904 | [10 empty] | Freezer Case Night Covers - R620 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 16 | Refrigerator Zero Energy Doors - R550 | Maine TRM v2021.2 | door | 35 | 788.4 | 0.09 | 943.0841 | 0.075 | 0 | 1.2 | 72% | 8760 | [16 empty] | Walk-in Refrigerator Automatic Door Closer - R630 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 17 | Freezer Zero Energy Doors - R560 | Maine TRM v2021.2 | door | 150 | 2277.6 | 0.26 | 2724.4651 | 0.2 | 0 | 1.3 | 72% | 8760 | [16 empty] | Walk-in Freezer Automatic Door Closer - R640 | 93% | 72% | 7.19% | 5.67% | 7% | 0% | 0%
[36 empty] | Refrigerator Case Door Gasket - R650 | 93% | 100% | 7.19% | 5.67% | 7% | 0% | 0%
[8 empty] | Type | Source | Unit | Rebate | Gross kWh Savings (Per Unit) | Gross kW Savings (Per Unit) | Avoided Carbon (lb CO2) | kWh_open | HVAC_kWh_open ("free cooling") | FI_open | kWh_closed | HVAC_kWh_closed ("free cooling") | FI_closed | Total Load (PC) | Load Factor (LF) | Hours | COP | COP HVAC | Standard Efficiency of Door | EFF | EFLH Cool - Grocery | EFLH Cool - Other | EFLH Heat - Grocery | EFLH Heat - Other | CF |  |  |  | Freezer Case Door Gasket - R660 | 93% | 100% | 7.19% | 5.67% | 7% | 0% | 0%
[7 empty] | 18 | Refrigerator Case Door Retrofit - Install Doors - R570 | NYS TRM V9 | linear foot | 55 |  |  | #VALUE! | 415.3612 | 229 | 81.77% | 70.0099 | 38.5 | 13.77% | 1500 | 0.62 | 8760 | 3.03 | 3.57 | 183 | 0.8 | 1866 | 1517 | 3519 | 2793 | 100%
[7 empty] | 19 | Freezer Case Door Retrofit - Install Doors - R580 | NYS TRM V9 | linear foot | 55 |  |  | #VALUE! | 1609.3891 | 285 | 82.76% | 264.8587 | 73 | 14.76% | 1850 | 0.8 | 8760 | 1.66 | 3.57 | 392 | 0.8 | 1866 | 1517 | 3519 | 2793 | 100%
[8 empty] | Type | Source | Unit | Rebate | Gross kWh Savings (Per Unit) | Gross kW Savings (Per Unit) | Avoided Carbon (lb CO2) | CF | COP | HOURS | Electric Energy Savings | Energy Savings Factor | Load (avf Ref Load/Freezer Load) btu/h | C1 - Btu per ton cooling conversion | C2 Conversion Factor COP to kW per ton
[7 empty] | 20 | Walk-in Cooler Door Strip Curtains - R590 | NYS TRM V9 | sq ft of door opening | 5 |  |  | #VALUE! | 100% | 0% | #N/A | #N/A
[7 empty] | 21 | Walk-in Freezer Door Strip Curtains - R600 | NYS TRM V9 | sq ft of door opening | 5 |  |  | #VALUE! | 100% | 0% | #N/A | #N/A
[7 empty] | 22 | Refrigerator Case Night Covers - R610 | NYS TRM V9 | linear foot | 10 | 157.5456 | 0 | 188.4561 | 0% | 2.2 | 8760 |  | 0.09 | 1500 | 12000 | 3.517
[7 empty] | 23 | Freezer Case Night Covers - R620 | NYS TRM V9 | linear foot | 10 | 157.5456 | 0 | 188.4561 | 0% | 2.2 | 8760 |  | 0.09 | 1500 | 12000 | 3.517
[7 empty] | 24 | Walk-in Refrigerator Automatic Door Closer - R630 | IL TRM v10 | closer | 65 | 2399 | 0.621 | 2869.6838 | 72% | 0%
[7 empty] | 25 | Walk-in Freezer Automatic Door Closer - R640 | IL TRM v10 | closer | 65 | 6949 | 1.3 | 8312.3938 | 72% | 0%
[7 empty] | 26 | Refrigerator Case Door Gasket - R650 | NYS TRM V9 | linear foot | 4 | 15 | 0.0017123 | 17.943 | 100% |  | 8760
[7 empty] | 27 | Freezer Case Door Gasket - R660 | NYS TRM V9 | linear foot | 5 | 114 | 0.013014 | 136.3668 | 100% |  | 8760
[8 empty] | FHPC Horsepower Calculation Method List | Selection
[8 empty] | No Selection | 0
[7 empty] | FALSE | Calculate from Nameplate Data | #N/A
[7 empty] | FALSE | Direct Input from Model Number | Eligible hp Quantity?
#N/A
Floating Head Pressure Control - ∆kWh/hp From NYS TRM V9
[7 empty] | System Type/Size | NYC
[7 empty] | Unitary Condenser, Low Temp, 0-3hp | 252.03
[7 empty] | Unitary Condenser, Low Temp, >3-6hp | 241.86
[7 empty] | Unitary Condenser, Low Temp, >6-10hp | 248.68
[7 empty] | Unitary Condenser, Low Temp, >10hp | 282.24
[7 empty] | Unitary Condenser, Medium Temp, 0-3hp | 131.45
[7 empty] | Unitary Condenser, Medium Temp, >3-6hp | 127.32
[7 empty] | Unitary Condenser, Medium Temp, >6-10hp | 128.1
[7 empty] | Unitary Condenser, Medium Temp, >10hp | 132.58
[7 empty] | Reomate Condenser, Low Temp, 0-3hp | 505.37
[7 empty] | Remote Condenser, Low Temp, >3-6hp | 481.06
[7 empty] | Remote Condenser, Low Temp, >6-10hp | 484.96
[7 empty] | Remote Condenser, Low Temp, >10hp | 503.32
[7 empty] | Remote Condenser, Medium Temp, 0-3hp | 393.38
[7 empty] | Remote Condenser, Medium Temp, >3-6hp | 387.53
[7 empty] | Remote Condenser, Medium Temp, >6-10hp | 396.89
[7 empty] | Remote Condenser, Medium Temp, >10hp | 404.66
Ice Maker Factors From 2023 PSEG LI TRM
[7 empty] | Equipment Type | Ice Harvest Rate (IHR) | Maximum Daily Energy Use per 100 lbs (kWhBASE) | Maximum Daily Energy Use per 100 lbs (kWhEE)
[7 empty] | Batch Type, Ice-Making Head | 4000 | 4.61 | 4.24
[7 empty] | Batch Type, Ice-Making Head | 1500 | 5.55 | 5.11
[7 empty] | Batch Type, Ice-Making Head | 800 | 7.05 | 6.49
[7 empty] | Batch Type, Ice-Making Head | 300 | 10 | 9.2
[7 empty] | Batch Type, Remote Condensing | 4000 | 4.59 | 4.13
[7 empty] | Batch Type, Remote Condensing | 988 | 7.97 | 7.17
[7 empty] | Batch Type, Self-Contained | 4000 | 7.35 | 6.25
[7 empty] | Batch Type, Self-Contained | 200 | 12.42 | 10.56
[7 empty] | Batch Type, Self-Contained | 110 | 14.79 | 12.57
[7 empty] | Continuous Type, Ice-Making Head | 4000 | 5.61 | 4.82
[7 empty] | Continuous Type, Ice-Making Head | 820 | 8.23 | 7.08
[7 empty] | Continuous Type, Ice-Making Head | 310 | 9.19 | 7.9
[7 empty] | Continuous Type, Remote Condensing | 4000 | 5.06 | 4.05
[7 empty] | Continuous Type, Remote Condensing | 800 | 9.7 | 7.76
[7 empty] | Continuous Type, Self-Contained | 4000 | 5.1 | 4.44
[7 empty] | Continuous Type, Self-Contained | 700 | 9.47 | 8.24
[7 empty] | Continuous Type, Self-Contained | 200 | 14.22 | 12.37
Ice Maker_System Type
Batch Type, Ice-Making Head
Batch Type, Remote Condensing
Batch Type, Self-Contained
Continuous Type, Ice-Making Head
Continuous Type, Remote Condensing
Continuous Type, Self-Contained
Refrigerator Strip Curtain
[7 empty] | Application | ΔkWh/ft² | Hours |  |  |  | ΔkWh/ft² | Hours
[11 empty] | Convenience Store | Office | 14 | 231
[7 empty] | Supermarket | 159 | 803 |  | Restaurant | Restaurant | 18 | 274
[7 empty] | Restaurant | 18 | 274 |  | Convenience Store | Retail | 14 | 231
[7 empty] | Convenience Store | 14 | 231 |  | Supermarket | Grocery | 159 | 803
[11 empty] | Supermarket | Warehouse | 159 | 803
[11 empty] | Restaurant | School | 18 | 274
[11 empty] | Restaurant | College | 18 | 274
[11 empty] | Convenience Store | Health | 14 | 231
[11 empty] | Convenience Store | Hospitals | 14 | 231
[11 empty] | Restaurant | Hotels/Motels | 18 | 274
[11 empty] | Supermarket | Manufacturing | 159 | 803
[11 empty] | Restaurant | Religious | 18 | 274
[11 empty] | Restaurant | Other/Miscellaneous | 18 | 274
[11 empty] | Look Up | Select… | #N/A | #N/A
Freezer Strip Curtain
[7 empty] | Application | ΔkWh/ft131 | Hours |  |  |  | ΔkWh/ft² | Hours
[11 empty] | Convenience Store | Office | 16 | 55
[7 empty] | Supermarket | 409 | 621 |  | Restaurant | Restaurant | 77 | 231
[7 empty] | Restaurant | 77 | 231 |  | Convenience Store | Retail | 16 | 55
[7 empty] | Convenience Store | 16 | 55 |  | Supermarket | Grocery | 409 | 621
[11 empty] | Supermarket | Warehouse | 409 | 621
[11 empty] | Restaurant | School | 77 | 231
[11 empty] | Restaurant | College | 77 | 231
[11 empty] | Convenience Store | Health | 16 | 55
[11 empty] | Convenience Store | Hospitals | 16 | 55
[11 empty] | Restaurant | Hotels/Motels | 77 | 231
[7 empty] | Evaporator Fan - Case Type |  | Evaporator Fan - Motor Type |  | Supermarket | Manufacturing | 409 | 621
[7 empty] | Cooler |  | Shaded Pole |  | Restaurant | Religious | 77 | 231
[7 empty] | Cooler |  | Shaded Pole |  | Restaurant | Other/Miscellaneous | 77 | 231
[7 empty] | Freezer |  | ECM |  | Look Up | Select… | #N/A | #N/A
Evaporator Fan - Case Type
Cooler
Cooler
Freezer
Evaporator Fan From 2023 PSEG LI TRM
Measure Unit Savings (DSAVE and SAVE) from NYS TRMv8
[7 empty] | Case Type | Motor Type a | Control Type | DSAVE | ESAVE | Average D Save | Average E Save
[7 empty] | Cooler | Shaded Pole | On/Off | 0.776 | 8650 | 0.7585 | 7937
[7 empty] | Cooler | Shaded Pole | Multispeed | 0.741 | 7224
[7 empty] | Cooler | ECM | On/Off | 0.282 | 3142 | 0.2755 | 2883
[7 empty] | Cooler | ECM | Multispeed | 0.269 | 2624
[7 empty] | Freezer | Shaded Pole | On/Off | 0.99 | 10991 | 0.9675 | 10084.5
[7 empty] | Freezer | Shaded Pole | Multispeed | 0.945 | 9178
[7 empty] | Freezer | ECM | On/Off | 0.36 | 3992 | 0.3515 | 3663
[7 empty] | Freezer | ECM | Multispeed | 0.343 | 3334
Evaporator Fan From 2023 PSEG LI TRM - AVERAGES
Measure Unit Savings (DSAVE and SAVE) from NYS TRMv8
[7 empty] | Case & Motor Type | Motor Type a | DSAVE Average | ESAVE Average
[7 empty] | CoolerShaded Pole | Shaded Pole | 0.7585 | 7937
[7 empty] | CoolerECM | ECM | 0.2755 | 2883
[7 empty] | FreezerShaded Pole | Shaded Pole | 0.9675 | 10084.5
[7 empty] | FreezerECM | ECM | 0.3515 | 3663
Anti Sweat heater Control
[7 empty] | Application | WHFd | WHFe | CF
[7 empty] | Refrigerator | 1.25 | 1.25 | 0.25
[7 empty] | Freezer | 1.5 | 1.5 | 0.21
Anti-Sweat heater_Controlled
Select…
Refrigerator
Freezer
LED Refrigerator Case Lighting - NYS TRM V9
[7 empty] | Lighting Technology | Refrigeration Type | Efficient Wattage | Baseline Wattage | Deemed Savings (∆kW)
[7 empty] | 5-foot LED case light | Refrigerator | 38 | 76 | 0.046
[7 empty] | 6-foot LED case light | Refrigerator | 46 | 112 | 0.08
[7 empty] | 5-foot LED case light | Freezer | 38 | 76 | 0.056
[7 empty] | 6-foot LED case light | Freezer | 46 | 112 | 0.097
[8 empty] | Refrigerator Average | 42 | 94 | 0.063
[8 empty] | Freezer Average | 42 | 94 | 0.0765
Phases
1
3
Refer to Master Internal Workbook for all references & calculations. Do not refer to external sheets.
- 10/30/2023 - EVD
Note on AN12: Molloy, Keith: All savings data is associated with Commercial Electric Fryer, not Deep Fat fryer
Note on AN13: Molloy, Keith: Also listed in catalogue "Low-flow Pre-rinse Spray Valve"

## Development (hidden)
2024 Commercial Efficiency Program
Version History
| 1.0 | Version Number
| 2024 | Year
| 11.06.2023 | Effective Date
Date | Version Number | Description | Author
2012-01-01 | 1 | Roll Out
2012-01-26 | 1.1 | Add sensors to Lighting Eligibility Table
Set Radio Buttons to Blank
Edited 'Assigning Rebate' checkbox to conform to NC Application
|  | Edited Organization Type layout | add development form Q2 changes document
Edited HVAC Eligibility Table from 12.0 SEER to 10.4 EER for Room AC
Rearranged Pre-Inspection on Required Documents tab
Reformatted bullets on Terms and Conditions #25
Added a macro to open instructions when the document is opened.
Set Default Cursor location on Customer Information tab to Top Header
Set Default Cursor location on other tabs to A1
Revised Version to 1.1
2.15.12 | 1.2 | Added Incentive calculation formulas in B10 & B11 | KM
2.15.12 | 1.2 | Changed G13 from "Baseline" to "Minimum" | KM
3.19.12 | 1.2 | Changed text from “ECMs must include electrical demand and energy savings (no load shifting; no kWh only savings), must exceed applicable energy code, and must exceed other measure specific performance criteria identified in the Eligibility Tables in this application.” to “ECMs should include electrical demand and energy savings, must exceed applicable energy code and should exceed other measure specific performance criteria identified in the Eligibility Tables in this application. Measures with no kW savings and that do not exceed performance criteria identified in the Eligibility Tables in this application may result in lower rebates. | KM
3.27.12 | 1.2 | Clarify eligibility for Evaporator fan controls and anti-sweat controls that perform more than one function, i.e., Cooltrol | KM
3.27.12 | 1.2 | Assign unique codes to AC measures, specifically AC retrofit such as ACR100, etc. | KM
3.28.12 | 1.1.1 | Corrected calculation error in Chiller worksheet | KM
3.28.12 | 1.2 | remove reference to photo inspection in Required Documents tab | KM
3.28.12 | 1.2 | correct missing formula in cell H14 in refrigeration tab | KM
3.28.12 | 1.2 | resize row 6 on chiller tab | KM
3.28.12 | 1.2 | change General Lighting to Lighting | KM
3.28.12 | 1.2 | add signature/name lines on required documents tab for PM and rebate processing | KM
3.28.12 | 1.2 | revise footnote to read "match preapproved amount" not prescreened in Required Docs. Tab | KM
3.28.12 | 1.2 | Converted LEED sheets from jpegs to usable excel worksheets | KM
3.29.12 | 1.2 | Updated password | SN
3.29.12 | 1.2 | Updated eligibility text for equipment that qualifies for more than one rebate, General Guidelines and Requirements | JR
3.29.12 | 1.2 | Increased Rebate Levels for Occupancy Sensors | KM/SN
Changed names of Application Type Check Boxes
| 1.2 | revise text to identify that multiple rebates are possible for a piece of equipment that qualifies in more than one category | JR
| 1.2 | protect refrigeration tab | KM
| 1.2 | update version number (to 1.2) including headers and footers | SN
| 1.2 | Match the APPLICATION TYPE check boxes across EB and NC, so things that are the same are named the same | SN
| 1.2 | correct email address on guidelines tab | JR
| 1.2 | Edit this text "If the proposed equipment fits into more than one category, only one can be selected. (For example, an applicant can not apply for both AC Retrofit and HVAC) " | JR
6.21.12 | 1.3 | Corrected calculation error in Chiller worksheet | KM
6.26.12 | 1.3 | Updated HVAC Elgibility to include Geothermal | KM
6.26.12 | 1.3 | Removed "LIPA Rep", "PM" and "Processed By" from customer information tab | KM
6.26.12 | 1.3 | Added Lock/Unlock Worksheets buttons | SN
6.27.12 | 1.3 | Revised required documents; edit proof of NFP; Proof of Payment; remove Invoice Verification | JR
7.12.12 | 1.3 | LED panels added | KM
7.12.12 | 1.3 | Lighting Controls added | KM
7.12.12 | 1.3 | Calculations hidden in Chiller worksheet | KM
7.12.12 | 1.3 | Edited VFD worksheet to display incentive only when all required data has been entered | KM
7.12.12 | 1.3 | Dragged down drop down menu in Cool Roofs worksheet | KM
7.12.12 | 1.3 | Corrected conditional formatting in kitchen worksheet | KM
7.18.12 | 1.3 | Corrections made to chiller calculations | KM
8.1.12 | 1.3 | Macro changes for lighting checkbox | SN
8.29.12 | 1.3 | Added LED High Bay category to Lighting eligibility table | KM
10.10.12 | 1 | Added New Lighting to Existing Building eligibility table | KM
10.11.12 | 1 | Linked Program year in each sheet's header to the program year in the development tab | KM
10.15.12 | 1 | Removed LEED selection from Customer Information page | KM
10.15.12 | 1 | Added required project start and completion date to Guidelines tab | KM
10.15.12 | 1 | Edited text from "post inspection is required" to "all projects are subject to post insepction" on Guidelines tab | KM
10.15.12 | 1 | Edited Responsible Party and last document (post inspection to proof of completion) on Required Documents tab. | KM
10.15.12 | 1 | "-a" for T12 baselines has been removed | KM
10.15.12 | 1 | BR20 & BR30 added to L420 & L430 | KM
10.15.12 | 1 | Added text "Replacing an existing sensor is ineligible" to all sensor categories | KM
10.15.12 | 1 | Grayed and locked R100 category from Refrigeration tab, added message directing customer to Lighting worksheet | KM
10.15.12 | 1 | Reviewed and corrected decimal point formatting where necessary | KM
10.18.12 | 1 | Added New Lighting Macro to Lighting eligibility tab | SN
11.15.12 | 1 | Updated lighting eligibility tab to reflect current lighting worksheet | KM
12.16.12 | 1 | edited wording on additional lighting worksheet and removed project start date | JR
4.24.13 | 2 | changed version number to 2.0 | KM
4.24.13 | 2 | updated text on lighting eligibility table to match eligibility table in lighting worksheet 2.0 | KM
4.24.13 | 2 | Changed rebate levels on lighitng equipment to match eligibility table in lighting worksheet 2.0 | KM
4.24.13 | 2 | Increased rebate levels for all HVAC equipment, added "Limited Time…' note to eligibility table. | KM
4.26.13 | 2 | Added new Chiller tab with new categories, efficiencies and rebate amounts, updated References tab | SN
4.30.13 | 2 | Removed Point of sale footnote from lighting eligibility table | KM
5.7.13 | 2 | Efficiency levels in Chiller worksheet have been adjusted | KM
8.16.13 | 3 | Changed effective date and version number | KM
8.16.13 | 3 | Removed Air Cooled Chiller category | KM
9.24.13 | 1 | Changed version number to 1.0, year to 2014 and start date to 10.1.13 | KM
9.24.13 | 1 | Removed all Not for Profit references on HVAC tab | KM
9.24.13 | 1 | Changed incentive amounts back to what they were prior to stimulus HVAC tab | KM
9.24.13 | 1 | Removed reference to Stimulus on HVAC tab | KM
11.27.13 | 1 | Removed "LIPA" from entire application | KM
11.27.13 | 1 | Edited Lighting Eligibility table to match retrofit worksheet 2014 v.1.0 | KM
11.27.13 | 1 | Edited Refrigerated Case Lighting in Refrigerated Equipment table; new lighting on new case in existing building can now use that table. | KM
12.2.13 | 1 | Changed color scheme from blue and yellow to black and orange | KM
12.2.13 | 1 | replaced the word "yellow" with "gray" in cases where user is instructed to complete yellow shaded cells | KM
12.4.13 | 1 | R100 removed from Refrigeration tab, only R100-N remains | KM
12.4.13 | 1 | Removed reference to Not for profit customers on additional/new lighting sheet | KM
12.4.13 | 1 | Edited text regarding 1 for 1 replacement requirements | KM
01.15.14 | 1.1 | Added disclaimer to line 32 of the Customer Information tab. | kam
4.9.14 | 1.2 | Added two sentences to Guidelines tab regarding UL listing and installing in accordance to codes and ordinances | KM
4.9.14 | 1.2 | Changed "PSEGLI" to "PSEG Long Island" throughout workbook | KM
5.8.14 | 1.2 | Updated Lighting Worksheets with Retrofit, Retrofit SSL, and New | SN
6.9.14 | 2 | Removed measure code 10-201 on New Construction Lighting worksheet | IM
6.9.14 | 2 | Added measure codes 10-207, 208, 209, 260, 261 on NC Lighting worksheet | IM
6.9.14 | 2 | Removed "Fluorescent" from controls categories on NC Lighting worksheet | IM
6.9.14 | 2 | Edited text for measures codes 10-220 and 10-230 from “Fluorescent Systems” to “Lighting Systems” on NC Lighting worksheet | IM
6.9.14 | 2 | Removed the word “Fluorescent” from measure codes 10-236 and 10-237 on NC Lighting worksheet | IM
08.04.14 | 2.1 | Edited text to L710 category to allow for CFL replacement | KM
08.04.14 | 2.1 | Edited text to L740 to allow for 8' replacement | KM
10.10.14 | 1 | Correct New Lighting LED high bay eligibility criteria. | IM
10.10.14 | 1 | Added "or other approved equivalent" to line 16 of Guidelines | IM
10.10.14 | 1 | Removed "POS Receipt" from Required Docs | IM
10.10.14 | 1 | Added DLC Category numbers to New LED fixtures | IM
10.10.14 | 1 | Added note that customer must identify model number on cutsheets in required docs tab | IM
10.10.14 | 1 | Added info to proposal on required docs tab and moved item to required for all projects | IM
10.10.14 | 1 | Added rows to each compressor type in compressed air tab | IM
10.10.14 | 1 | Changed language in Refrigeration tab to say "Walk In Cooler" rather than "Case" | IM
10.10.14 | 1 | Added additional eligibility criteria to anti-sweat controls in refrigeration tab | IM
10.10.14 | 1 | Removed hot water pumps from VFD tab | IM
10.10.14 | 1 | Removed line about sizing reactor in VFD tab | IM
10.10.14 | 1 | Changed line 7 to mention manual mode, rather than automatic in VFD tab | IM
10.21.14 | 1 | Removed reference to not for profit in required docs | IM
10.21.14 | 1 | Removed references to Air Cooled Chillers | IM
10.27.14 | 1 | Added box for customer initials to Guidelines and Required Docs tabs | IM
10.31.14 | 1 | Edited language for total estimated rebate | IM
10.31.14 | 1 | Added additional required docs for cool roofs | IM
10.31.14 | 1 | Added footnote to LED lighting tab | IM
10.31.14 | 1 | Added bullet to Refrigerated Case Door Heater on Refrigeration tab | IM
11.06.14 | 1 | Removed vending machines from Refrigeration tab | IM
4.29.15 | 1.1 | corrected rebate calculation for compressed air storage | KM
4.29.15 | 1.1 | added 2- LED lamp replacements, L745 | KM
4.29.15 | 1.1 | added 2- LED linear ambient, L730 | KM
4.29.15 | 1.1 | Added text to Eligibility Requirements on LED Eligibility Table "When replacing 8’ existing lamps, a UL category 1598B or 1598C retrofit kit is required" | KM
4.29.15 | 1.1 | Added text to L745 "can not replace a 4’ existing lamp with 2 2’ lamps. Replacement of existing 4’ lamps is not eligible" | KM
4.29.15 | 1.1 | Added text to line 14 of LED Eligibility table"For fixture replacements, the Lighting Retrofit program is designed to be a one for one fixture replacement program. For any other fixture replacement configurations speak to your PSEG Long Island Representative." | KM
5.18.15 | 1.2 | Edited LED Eligibility table to reflect changes made to LR worksheeet 1.3 | KM
5.18.15 | 1.2 | Changed version to 1.2 | KM
11.25.15 | 1.1 | Named range on ProposedEquipment tab for all data to be imported into Captures | KM
1.12.16 | 1.1 | Reduced rebate amount on all LED measures | KM
6.15.16 | 2 | Changed version to 2.0 | KM
6.15.16 | 2 | Updated Effective date to 6.20.16 | KM
6.15.16 | 2 | Added Inspection forms for all measures | KM
11.9.16 | 1 | Added note to eligibilty on thermal storage and Cool Roofs tabs, New Construction projects are not eligible. Also added conditional formatting to support that, based upon Project Type selected on Customer Information tab. | KM
11.9.16 | 1 | Added Data Validation to VFD sheet to limit hp based upon NC or EB selected on Customer Information tab | KM
11.9.16 | 1 | Removed Lighting Eligibility tabs; added message box to Customer Information tab instructing customer to see the website for Lighting Applications | KM
11.9.16 | 1 | Removed HVAC Eligibility tabs; added message box to Customer Information tab instructing customer to see the website for HVAC Applications | KM
11.9.16 | 1 | LPD removed from program | KM
11.9.16 | 1 | Changed Application name from EB or NC to just Rebate Application | KM
11.9.16 | 1 | Updated Version number and program year | KM
11.18.16 | draft1_1.0 | Updated version number. Updated language in C | kam
12.1.16 | draft_1.1 | Removed Chiller and Chiller Inspection tab from workbook | KM
12.1.16 | draft_1.1 | Removed Chiller option from "application type" filed on Customer Information tab | KM
12.1.16 | draft_1.1 | Changed version to draft_1.1 | KM
12.06.16 | draft_1.2 | Updated checkbox macros for HVAC and Lighting to only appear is checked (not unchecked) | MVG
12.06.16 | draft_1.2 | Update Cool Roof worksheet to get rid of section stating that NC projects are not eligible. I double checked ASHRAE 90.1-2013 Section 5.5.3.1.1 and IECC 2015 Section C402.3, and this requirement is only for Climate Zones 1-3. Long Island is in Climate Zone 4. | MVG
12.06.16 | draft_1.2 | According to the CRRC, there are over 500 products with an initial SRI over 100 (19% of all products). Also, there are 45 products with a 3-year-aged SRI over 100. I took off the ceiling of 100 from these columns in the Cool Roof worksheet. | MVG
12.06.16 | draft_1.2 | Added references in CR Inspect worksheet to pull data from Cool Roof table | MVG
12.06.16 | draft_1.2 | Added Data Validation to VFD sheet to limit hp based upon NC or EB selected on Customer Information tab (Was not done, although stated in row 138) | MVG
12.06.16 | draft_1.2 | Added conditional formatting to show only VFD HPs up to 25 HP if New Construction is chosen | MVG
12.06.16 | draft_1.2 | Changed "Other" building type for cool roofs and VFDs to "Other/Miscellaneous" to stop errors | MVG
12.06.16 | draft_1.2 | Changed Compressed Air Storage Tanks Compressor Factor in ProposedEquipment0 tab to inlcude 3 gallons/cfm | MVG
12.06.16 | draft_1.2 | Changed refrigerated dryer savings to zero | MVG
12.06.16 | draft_1.2 | Changed name of Custom EB tab to just Custom and added verbiage that replacement equipment is for Existing Buildings only | MVG
12.06.16 | draft_1.2 | Added formula to inspection tabs to pull Contact/Title information from Customer Information tab | MVG
12.06.16 | draft_1.2 | Added to Customer Inputs tab "Click" macros new coding to hide inspection forms if the application type is unclicked. Also unchecks the inspection form checkbox in the application type tab. | MVG
1.6.17 | draft_1.2 | Removed references to Existing Building in "Custom" tab | MVG
1.17.17 | draft_1.3 | Updated spelling/grammar errors. Reduced TES rebate to $1000 | kam
1.24.17 | 1 | Updated version to 1.0 and changed effective date to 1.25.17 | MVG
9.26.17 | draft_1.0 | Updated version to draft_1.0 | KM
9.26.17 | draft_1.0 | Updated Program year to 2018 | KM
9.26.17 | draft_1.0 | Updated effective date to 1.1.2018 | KM
11.09.17 | draft_1.0 | Updated "Application ID" to "Project ID" on all inspection forms and application page | ED
11.13.17 | draft_1.0 | Per Client request: TES tab added "systems"; Cool Roof tab, moved info on rebate amount to Worksheet section (from bold sentence on top) | kam
11.27.17 | draft_1.01 | Removed form requirement for NFP, per Walter Hoefer email to kam 11/27/17 | kam
12.3.18 | v 1.0 | Adapted commercial standard rebate application to a stand-alone refrigeration application. | NB
12.3.18 | v 1.0 | Added 17 new commercial refrigeration measures. | NB
12.10.18 | v 2.0 | Added an extra attribute column to the Worksheet to provide more granular savings for refrigerators, freezers and icemakers | NB
12.10.18 | v 2.0 | Formatting and labeling updates to the References and ProposedEquipment0 tabs | NB
12.13.18 | v 2.1 | Added carbon savings to ProposedEquipment0 | NB
12.17.18 | v 2.2 | Added net MMBtu savings to ProposedEquipment0 | NB
12.18.18 | V2.4 | Unlocked building type and project type on references tab so inputs can be made on customer information tab | ED
12.18.18 | V2.4 | Updated all pseg URLs | ED
12.18.18 | V2.4 | Guidelines tab: updated naming convention to RefrigerationApplication | ED
12.18.18/ | v2.4 | changed inspection form check box to read "Refrigeration Inspection Form" | ED
12.18.18 | v2.4 | INS form: Added pre-inspection and post-inspection check boxes | ED
12.18.18 | v2.5 | Prop 0- Changed name of COP column to Proposed/Installed COP and Unit column to Unit Type | ED
12.18.18 | v2.5 | References- Operating Hours table numbers were not lining up, fixed alignment | ED
12.27.18 | v2.6 | edited images on worksheet; corrected formatting of additional inputs where "n/a" was grey | JR
12.27.18 | v2.6 | set freeze panes on References tab to focus on refrigeration | JR
12.28.18 | v2.7 | Removed # from measure codes on worksheet; aligned images on worksheet with line items | ED
01.02.19 | v2.7 | corrected incentive calculations on Proposed 0 tab | JR
01.02.19 | v2.8 | Prop 0- Updated number format on columns X and Y so we can import data in to databse - Updated from % to decimal | ED
1.02.19 | v2.8 | Worksheet - Edited formula in cell L 28 to "=IF(F29<1," ",F29*RIGHT(LEFT(D29,4),3))" in order to proper calculate $150 rebate | ED
1.03.19 | v1.0 | Changed version to 1.0 for release as per client approval | ED
2.20.19 | draft_3.0 | Nate updated savings calculation to correct double counting of Total Net kW | KM
2.20.19 | draft_3.0 | Added Utility Gross fields and In Service Rate to Proposed0 tab | KM
2.20.19 | draft_3.0 | Extended kW and kWh decimal places to 7 and 5 places, respectively. | KM
2.21.19 | draft_3.1 | Updated formatting for phone numbers on Customer Information tab so they include parentheses and dashes | MT
2.21.19 | draft_3.1 | changed fonts on email addresses so they are consisten with the rest of the inputs on customer information tab | MT
2.21.19 | draft_3.1 | Left aligned inputs for customer signature and name at bottom of customer information tab | MT
2.21.19 | draft_3.1 | Left aligned phone numbers that autopopulate from customer information tab at the top of the inspection tab. Also adjusted formatting to include dashes and parentheses. | MT
2.26.19 | Draft_3.2 | Updated all kW and kWh savings columns on Prop 0 to reflect "Number" format | ED
3.11.19 | Draft_3.2 | Updated cells to right of "Other" selection under building type on Customer Information tab to allow handwritten input on printed version of application | MT
3.12.19 | Draft_3.2 | Updated formatting for Contractor phone numbers on Customer Information tab so they include parentheses and dashes. | MT
3.12.19 | draft_3.3 | Improved savings algorithms for Energy Star Refrigerators/Freezers to accommodate different size brackets. | NB
3.12.19 | draft_3.3 | Restricted Floating Head Pressure Controls to simple, single hp compressor systems, added a horsepower calculation based on nameplate data to the Worksheet, and reduced coincidence factor to 0 because this measure optimizes refrigeration during non-peak summer conditions. | NB
3.12.19 | draft_3.3 | Updated FSHP labels on ProposedEquipment0 tab to only show up when an eligible hp quantity (hp > 1) has been entered on the Worksheet. | NB
3.12.19 | draft_3.3 | Updated sources for LED Refrigerated Cases and Evaporator Fan Controls (previously w/o a listed source) to their original source reference: NYS 2010 Tech Manual and Attributes from PSEG-LI Projects | NB
3.12.19 | draft_3.3 | Updated sources for Anti-Sweat Heater Controls and all ECM measures (previously w/o a listed source) to their original source reference: 2019 PSEG-LI TRM and Attributes from PSEG-LI Projects | NB
3.12.19 | draft_3.3 | Changed Zero Energy Door algorithm to the Maine TRM instead of the more conservative Xcel MN TRM to align better with actual projects. Lockheed to further develop the explanation for this adjustment. | NB
3.15.19 | draft_3.4 | Fixed macro to paste the workbook's name for all measures on the Proposed0 tab | KM
3.15.19 | draft_3.4 | Updated logic to only display Icemaker savings when all inputs are non-zero | KM
3.15.19 | draft_3.4 | Updated logic to only display ES Refrigerator, Freezer, and Icemaker rebates when all inputs are non-zero | KM
3.18.19 | draft_3.4 | Adjusted peak savings on References tab to Gross kW instead of Net kW to avoid double-counting of the CF on the Proposed0 tab | NB
3.19.19 | draft_3.5 | Updated Terms and Conditions with legal language pertaining to phone numbers | MT
3.19.19 | draft_3.5 | Locked and hid all cells not requiring data entry | MT
3.19.19 | draft_3.5 | Reformatted all PSEGLI logos | MT
3.19.19 | draft_3.5 | Updated forumla on Inspection tab so measure descriptions populate accurately | MT
3.19.19 | draft_3.5 | Moved inspection check box on Worksheet to the very bottom | MT
3.19.19 | draft_3.5 | Adjusted calculations for zero energy doors, refrigerators, freezers, and floating head controls to better reflect actual savings. | MT
3.29.19 | 1.1 | Version 1.1 approved by the client and is ready for release. | MT
11.15.19 | draft_1.0 | Worksheet Tab: updated eligibility for ECMs so they must replace existing motor | MT
11.15.19 | draft_1.0 | Development Tab: Updated Version number, effective date, and program year | MT
11.15.19 | draft_1.0 | Guildelines Tab: updated guidelines so only projects started after January 1 2020 are eligible under this application | MT
11.15.19 | draft1.1 | Worksheet Tab: hid rows for new install ECM measures | MT
11.26.19 | draft1.2 | Worksheet Tab: added measure code to measure descriptions where missing to maintain consistency | MT
11.26.19 | draft1.2 | Inspection: hid rows for new install ECM measures | MT
11.26.19 | draft1.2 | Inspection Tab: reformatted Quantity field for measuer R220 to maintain consistency | MT
12.04.19 | draft1.3 | Customer Information Tab: Updated "Other" radial button under building type to remove colon and make entire button visible. | MT
12.04.19 | draft1.3 | Guidelines: increase row height so all text is visible | MT
12.04.19 | draft1.3 | Reformatted photos and logos across entire application | MT
12.04.19 | draft1.3 | Worksheet: corrected eligibility criteria for R220 so Direct Horsepower Input from Model Number is input to cell H15 | MT
12.05.19 | draft1.4 | Worksheet: updated formula in rebate cells for ECM measures so rebates only populate when Existing Building is selected on the Customer Information tab | MT
12.05.19 | draft1.4 | Worksheet: bolded newly added eligibility criteria for ECM measures and moved that to top of criteria list | MT
12.11.19 | Version 1.0 | Locked and prepped workbook for launch | ED
9.04.20 | 2021_Version 1.0_draft1.0 | Worksheet: Added two rows for Door Gaskets | MCR
|  | References: Added Two rows for door gaskets | MCR
|  | References: Added Savings for Door gaskets kWh/linear ft. | MCR
|  | References: Added Savings for kW/linear foot | MCR
|  | References: Added CF for door gaskets | MCR
|  | Worksheet: units for door gaskets are liner foot | MCR
|  | Worksheet: Added Description of door gasket replacements | MCR
9.8.20 | draft 1.1 | Inspection: Added Gaskets to the rows of measures | MCR
|  | Inspection: Added units to the quantity column | MCR
10.22.20 | draft2 | Dev tab: updated effective date to 1.1.21 | ED
10.22.20 | draft2 | Cust Info Tab: Removed Project Type Radio buttons | ED
10.22.20 | draft2 | Cust Info Tab: Removed Project Type Radio buttons | ED
10.22.20 | draft2 | Cust Info Tab: Added data validation drop down "Building Type" to Cell C16 | ED
10.22.20 | draft2 | Ref Tab: Added Name Manager for Project Type - Existing Building, New Construction | ED
10.22.20 | draft2 | Cust Info Tab: Remove Project type Radio buttons | ED
10.22.20 | draft2 | Cust Info Tab: Added data validation data drop down "Project tType" to Cell C20 | ED
10.22.20 | draft2 | Ref Tab: Added "Org Type" table beginning in Cell B68 | ED
10.22.20 | draft2 | Ref Tab: Added Name Manager for Org Type | ED
10.22.20 | draft2 | Cust Info Tab: Removed radio buttons for Org Type | ED
10.22.20 | draft2 | Cust Info Tab: Added data validation drop down "Org Type" to Cell C13 | ED
10.22.20 | draft2 | Guidelines: Row 10 - Updated effective date to 1/1/21 | ED
10.22.20 | draft2 | Guidelines: Row 34 - Added language about submitting app and docs through Lead Partner Portal OLA | ED
10.22.20 | draft2 | Worksheet Tab: Added measure codes for Ref Door Gasket (R650) and Freezer Door Gasket (R660) | ED
10.22.20 | draft2 | Ref Tab: Added measure codes for Ref Door Gasket (R650) and Freezer Door Gasket (R660) | ED
10.23.20 | draft3 | Ref Tabs: Added Ref and Freezer door gaskets to Product table | ED
10.23.20 | draft3 | Ref Tab: Updated CO2 factor in Cell U94 to 1.1962 | ED
10.26.20 | draft4 | Prop 0: Added 2 new measures (R650 and R660) rows to prop 0 tab | ED
10.26.20 | draft4 | Prop 0: Column I (unit type)- Updated references range in formaul to account for 2 new measures | ED
10.26.20 | draft4 | Prop 0: Column Ab/AC (Utility Gross kWh and Utility Gross kW per unit) - Updated references range in formula to account for 2 new measures | ED
10.26.20 | draft4 | Ref Tab: in Column AE - added spaced before measure code for 650 and 660 | ED
10.26.20 | draft4 | Ref Tab: Updated Line Losses for kW to 7.19% and kWh to 5.67% per 2021 planning tool | ED
10.26.20 | draft4 | Prop 0: Column AU (total carbon savings)- Updated references range in formula to account for 2 new measures | ED
10.26.20 | draft4 | Prop 0: Column AW (Incentive per Unit)- Updated references range in formula to account for 2 new measures | ED
10.26.20 | draft4 | Worksheet Tab: Added Summary table beginning in Cell D47 to account for total Rebate, Total kWh Savings, and Total kW Savings | ED
10.26.20 | draft4 | Prop 0: Added a column to calculate Total Utility Gross kWh and Total Utility Gross kW Savings (this is not for importing purposes, only Summary table purposes) | ED
10.26.20 | draft4 | Worksheet Tab: Updated Total Rebate Amount formula in Cell L42 to account for two new measures | ED
10.26.20 | draft4 | Worksheet Tab: Added formulas to Summary Table (formulas linked to Prop 0) | ED
10.28.20 | draft5 | Worksheet Tab":reformatted eligibility language for door gaskets to include bold type for EB only | ED
10.28.20 | Draft5 | Prop O: Updated formulas in Product Class, Product Name and Product Line to correctly account for Floating Head Controls | ED
10.28.20 | draft5 | Prop 0: Updated formulas in Total Utility Gross kWh and Utility Gross kW to be IF statements | ED
10.29.20 | Draft6 | Ref Tab: Updated range for Name Manager to include "Select…" for Building Type, Organization Type, and Project Type | ED
10.29.20 | Draft6 | Worksheet Tab: Started updating eligibility language to align with ASHRAE | ED
10.30.20 | Draft7 | Worksheet Tab: Updated language to include edits based on ASHRAE | Ruchir Shah
11.02.20 | Draft 8 | Worksheet Tab: Finishing language updates | ED
11.10.20 | Draft9 | All Tabs: Updated Color Schemes | ED
12.16.20 | Draft10 | Cust Info Tab: Unlocked Org Type, Project Yype, and Building Type Cells | ED
12.16.20 | Draft10 | Cust Info Tab: Change background of total rebate cell to white - indicating it is an auto-populated field | ED
12.16.20 | Draft10 | Worksheet Tab: Added conditional formatting to cell F15 to turn red if "calculated hp canot be less than 1" appears | ED
12.16.20 | Draft10 | Ref Tab: Update CF for anti sweat heater to 0 from 72 | ED
12.16.20 | Draft10 | INS Form: Updated formula to link to uilding Type on Ref tab | ED
12.16.20 | Draft10 | INS Form: Added field to capture "Additional Projects to Inspect" | ED
12.18.20 | Version1.0 | Locking and finalizing app for 2021 luanch | ED
10.21.21 | Version 1.0_Draft1 | Dev Tab: Updated Year, Effective Date, and Version | ED
10.21.21 |  | Ref Tab: Update "kW_Base" for LED Lighting to .0439 | ED
Ref Tab":Ref Zero Energy Door - No updates to assumptions, updated source to " MAINE TRM v2021.2
Ref Tab": Freezer Zero Energy Door - No updates to assumptions, updated source to " MAINE TRM v2021.2
Ref Tab": Refrig/Freezer Auto Door Closers - No updates to assumptions, updated source to "IL TRM V9"
Ref Tab": Door Gaskets- No updates to assumptions, updated source to "NYS TRM V8"
Ref Tab: ES Freezers and Refrigerators: Updated CF to 77%, updated source to "Mid Atlantic TRM V10"
10.22.21 | Version 1.0_Draft2 | Guidelines tab: Updated effective date to 1/22 | ED
|  | Worksheet Tab: Ref Case Lighting - Add the following language "Replacement of first generation LEDs is permitted" | ED
11.17.21 | Version1_Draft3 | Guidelines Tab - Added the following language - If customer has participated in any other state or utility sponsored rebate program, related to the technology in this application, please contact a PSEG Long Island Representative to determine whether the project is also eligible under this program. | ED
|  | Ref Tab: Updated Source and Metholodgy for Refrigeration Case Doors | ED
Ref Tab: Updated Refrigeration Assumptions table per 2022 PSEG LI TRM
Ref Worksheet Tab: ES Ice Maker - Added System Type Drodown
Ref Worksheet Tab: Floating Head Control - Added System Type Dropdown
11.23.21 | Draft 5 | References:Added Ice Maker formulas in a table | MCR
References:Added kWh base and kWh ee to ice makers
References: Added strip curtain tables
References: added new strip cutain Hours and kWh
11.24.21 | Draft 6 | Ref Tab: Added tables for Evap Fan Control Case and Motors | ED
| Draft 6 | Worksheet Tab: Added Motor Type and Case Type cells to Evaporator Fan Controls
Ref Tab: Added tables for Evap Fan Control Case and Motors - ESAVE and DSAVE Values
Measure Table: updated assumptions to Match internal workbook and DSA TRM
Ref Tab: Added formulas as needed for all measures
Ref Tab: Updated CFs for Refrigeraton per 2022 PSEG LI TRM
12.8.21 | Draft7 | All Tabs: Updated PSEG Logo | ED
Req Docs: Reordered tabs for proper organization
Ref Tab: Updated kWh formula for Floating Head Controls
Worksheet tab: Added data validation to Control Horsepower to allow decimal
12.13.21 | Draft8 | Req Docs: Fixed check boxes | ED
12.15.21 | Draft 9 | Updated PSEG Logos
12.15.21 | Draft10 | Edited and repasted PSEG Logos on each tab | ED
12.17.21 | Draft11 | Reformated Logos | ED
12.28.21 | Version1 | Locked and finalize per client approval | ED
10.25.22 | V1_D1 | Dev Tab: Updated, Year, Version, and effective Date | ED
Cust Info: Added Dropdown for Rebate Payment Method
Ref Tab: Added table for Rebate Payment Method
Cust Info: Removed rebate assignment box
Guidelines: updated effective date
Guidelines: added link to lead partner portal
10.26.22 | V1-D2 | Worksheet: Updated Evap Fan Control to reflect rebate per controller | ED
|  | Worksheet: Updated Evap Fan Control rebate formula | ED
10.27.22 | V1_D3 | Worksheet: Added "Horsepower CFM" fields to ECMs | ED
22 |  | Ref Tab: Updated all sources for measures
Ref Tab: Updated fields and methodologies for ECMs, Night Covers, Anti Sweat heater Controls
11.11.22 | V1_d4 | Ref Tab: Corrected calc
11.14.22 | V1_d4 | Ref Tab: Corrected formula for Night Covers (PSEG LI TRM formula has parantheses in wrong place, refer to Midaltntic V10 TRM) | ED
|  | Rfe Tab: Added Whe, WHd, CF table for Anti Sweat Heater Controls | ed
Ref Tab: Updated formula for anti sweat heater controls
Worksheet Tab: Added System Type dropdown for anti sweat heater controls
Ref Tab: Updated CF factor in measure table for Anti Sweat heater Controls and ECMS
11.21.22 | v1-D5 | Cust Info Tab: Updated formatting on dropdowns | ED
Worksheet Tab: Updated formulas as needed to ensure rebate doesn't populate before all data entered
Ref Tab: Updated "365" reference in ESTAR UEC section
Ref Tab: Zero Energy Door - Updated kWh formula to reference Hours cell instead of being hard coded input
11.22.22 | V1_D6 | Guidelines Tab: Removed repetitve Commercial Website Links | ED
Worksheet Tab: Moved rebate incentive language from bottom of tab to top
Cust Info Tab: Updated formatting for Buildingng Type dropdowns
11.23.22 | V1_D7 | Worksheet Tab: Updated formula for Floating Head Controls to ensure System type is entered before rebate popul;ates | ED
11.23.22 |  | Ref Tab: Added NYS TRM V 9 Lighting Table
Worksheet Tab: Added a second row for LED Case Lighting
Ref Tab: Add a new row in measure table for LED Case Lighting (Splitting measure for Refrigator and Freezer)
Ref Tab: Added updated formulas for lighting
Ref Tab: Updated Lighting operating hours and added formula for hours
Ref Tab: Added # of doors to Anti Sweat Heater Control - 2 doors per 1 unit is the assumption
Prop 0: Added new row for Freezer LED Case Lighting
Ref Tab: Updated NTG table to include Freezer LED Case Lighting
11.28.22 |  | INS Form: Added Freezer LED Case Lighting | ED
12.12.22 | Draft9 | Worksheet Tab: Updated Freezer LED Lighting measure code to R105 | ED
Ref Tab: Updated all instances of Freezer LED Lighting measure code to R105
Prop 0: Updated Measure code for Freezer LED Case Lighting
12.27.22 | Version1 | Locked and final per client approval | ED
8.22.23 | V1.0_D1 | R570:
EFLHh: Grocery: 3408 -> 3519, Other: 2698 -> 2793
EFLHc: Grocery: 1965 -> 1866, Other: 1597 ->1517
COP: 3 -> 3.03
R580:
EFLHh: Grocery: 3408 -> 3519, Other: 2698 -> 2793
EFLHc: Grocery: 1965 -> 1866, Other: 1597 ->1517
COP: 1.5 -> 1.66
R630:
kWhc: 943-> 2399
kWc: 0.137 -> 0.621
R640:
kWhf: 2307-> 6949
kWf: 0.309 -> 1.3
|  | Guidelines: Line 5: changed date to refelct 2024 | SB | D1
9.6.23 | V1.0_D2 | Updated formating, colors and logo across all tabs | SB | D2
9.22.23 | V1.0_D3 | VBA Code Commented out | SB | D3
Worksheet: Changed ECM input language "Total horsepower of all fan(s)"
10.30.23 | V1.0_Draft5 | Prop 0 & Ref Tab: Added note to refer to internal only for References and Calculations | ED | D5
Worksheet Tab: Hid Project Summary Table
11.6.23 | V1.0 | Final and locked per client approval | SB | V1

## ProposedEquipment0 (hidden)
Row Number | BaseLine Row_ID | Product Line | Product Class | Product Name | Measure Code | Product Quantity | Application ID | Unit Type | Full Load Hours Cool | Baseline Annual Usage (kWh) | Efficient Annual Usage (kWh) | Volume (ft3) | Existing Wattage | Harvest Rate (lb/day) | Proposed/Installed Wattage | Waste Heat Factor – Demand | Waste Heat Factor - Energy | Hrs of Use | Load Factor | Bonus Factor | Total Load | Proposed/Installed COP | Infiltration Factor - Closed | Infiltration Factor - Open | Free Cooling - Closed | Free Cooling - Open | Gross kWh per Unit | Gross kW per Unit | In Service Rate | Utility Gross kWh | Utility Gross kW | Coincidence Factor | Free Ridership | Spillover | Line Loss kW summer | Line Loss kWh | Net kWh per Unit | Net kW per Unit | Total Net kWh | Total Net kW | Total Net MMBtu Savings | Total Carbon Savings (lb CO2) | Equipment Cost | Labor Cost | Total Cost | Elec Util Cust Incentive | Total Elec Util Cust Incentive | Incentive Per Unit | Workbook Name | Total Utility Gross kWh Savings | Total Utility Gross kW Savings
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15 | [31 empty] | 100%
16
17
18
19
20
21
22
23
24
25
26
27
Refer to Master Internal Workbook for all references & calculations. Do not refer to external sheets.
- 10/30/2023 - EVD

## Customer Information
2024 Commercial Efficiency Program
Refrigeration Rebate Application, Version 1.0
The Commercial Refrigeration Program offers rebates to commercial, industrial, institutional, educational, municipal or multi-family building customers who install qualifying energy efficient equipment on refrigeration systems. This application is not to be used for any rebates other than for refrigeration equipment or refrigeration system upgrades. Rebates require pre-approval.
Customer Information
Account No: | [5 empty] | Rate Code:
Account Name: | [5 empty] | Tax ID #:
Facility Address: |  |  |  | City: |  |  | Zip:
Mailing Address: (If different than above) |  |  |  | City: |  |  | Zip:
DBA: |  |  |  |  | Business Phone:
Contact Name/Title: |  |  |  |  | Cell Phone:
E-Mail Address: |  |  |  |  | Fax:
Building Size (ft2):
Organization Type: |  | Select… |  | Building Type: |  | Select…
Project Type: |  | Select… |  | Rebate Payment Method: |  | Select…
Contractor Information
Contractor Name:
Contractor Address: |  |  |  | City: |  |  | Zip:
Contact Name/Title: |  |  |  | Business Phone:
Tax ID #: |  |  |  | Cell Phone:
E-Mail Address: |  |  |  | Fax:
Rebate
Enter Total Estimated Rebate Amount (Calculated on appropriate worksheet): |  |  | 0
*Disclaimer: Terms and conditions are subject to change without notice, including early termination of this promotion. No additional fees apply. The rebate may be issued in the form of a check. PSEG Long Island administers the rebate program on behalf of the Long Island Power Authority, the rebate program sponsor. Please visit https://www.PSEGLIny.com/Efficiency for more details.
Certification Statement: Customer has read, understands and agrees to be bound by the Terms and Conditions set forth herein, and agrees to abide by them. By participating in this program, Customer agrees on behalf of itself and any successor in interest or assignee that PSEG Long Island obtains and/or retains ownership of all rights to existing and future emission credits, renewable energy rights to existing and future emissions credits, renewable energy green tags, tradable renewable certificates and/or any and all other environmental benefits associated with the installation of the ECMs. Customer certifies that the information provided in the herein is true and accurate. Customer further certifies that the energy saving products described herein have or will be installed in the facility indicated above and will not be resold. As specified herein, Customer agrees to permit PSEG Long Island to: (1) verify the purchase invoices and product installations and (2) upon request, install and remove load-monitoring equipment at the facility. Customer acknowledges that the rights and obligations in this application shall be binding upon assignees, successors and future owners of the facility. Customer agrees to include restrictions contained in this agreement in any leases, sales, contracts, or other similar documents relating to the use and ownership of the facility. Customer acknowledge that, consistent with PSEG Long Island’s Efficiency Long Island program policies and procedures, PSEG Long Island may pro-rate a rebate or incentive (the “Rebate”) if the Customer purchases less than its full electric requirements from PSEG Long Island. Customer further acknowledges that PSEG Long Island may require the Customer to repay all or a portion of the Rebate received if, within five (5) years of receipt of the Rebate, the Customer ceases purchasing its full electric requirements from PSEG Long Island or increases its use of electric power from non-PSEG Long Island sources at the facility, other than through the Long Island Choice Program.
Customer Name: (Print)
Customer Signature: Duly authorized representative | [5 empty] | Date:
Project ID:
Application Version: | 11.06.2023_1.0 | [5 empty] | Effective: | 11.06.2023
Group Box 1260
Group Box 1286
Group Box 1849
Group Box 1849

## Terms and Conditions
2024 Commercial Efficiency Program
Terms and Conditions
1. Rebates
a) | Subject to these Terms and Conditions, PSEG Long Island and/or its subsidiary, the Long Island Lighting Company d/b/a PSEG Long Island (hereinafter referred to individually or collectively as “PSEG Long Island”), will pay rebates to eligible Customers (hereinafter “Customers”) for the installation of Energy Conservation Measures (“ECMs”) listed on PSEG Long Island’s Commercial Efficiency Program (CEP)application forms.
b) | ECMs are those electric conservation measures identified as such in program materials issued by PSEG Long Island and other site-specific Custom or Whole Building Design Measures that are approved by PSEG Long Island. The installation of ECMs and other site-specific Custom or Whole Building Design Measures will be referred to as (“Project”) in these Terms and Conditions.
c) | All ECMs must be new equipment and installed by licensed contractors where required by code and/or law.
2. Customer Eligibility
a) | The PSEG Long Island Commercial Efficiency Program (“Program”) is available to all non-residential electric customers in the PSEG Long Island “Service Area,” which includes Nassau and Suffolk counties and a portion of Queens County known as the Rockaways.
b) | By participating in this Program, Customer agrees that PSEG Long Island obtains and/or retains ownership of all rights to existing and future emissions credits, renewable energy rights to existing and future emissions credits, renewable energy green tags, tradable renewable certificates and/or any and all other environmental benefits associated with the installation of the eligible equipment.
3. Pre-Approval and Pre-Installation Survey
a) | PSEG Long Island will not pay any rebates unless PSEG Long Island pre-approves the ECMs proposed by the Customer and completes, to PSEG Long Island’s satisfaction, a pre-installation survey of the Customer’s facilities, unless PSEG Long Island has expressly waived such pre-approval/inspection requirement.
b) | PSEG Long Island reserves sole discretion to approve or disapprove of any proposed ECMs.
4. Post-Installation Verification
PSEG Long Island will not pay any rebates until it has performed, to PSEG Long Island’s satisfaction a post-installation verification of the installation, unless PSEG Long Island has expressly waived such post-installation verification requirement. If PSEG Long Island determines that the ECMs were not installed in a manner that is consistent with the purpose of achieving energy savings, or if the installation was not consistent with generally accepted good engineering practices, PSEG Long Island reserves the right to require changes before making any rebate payments. PSEG Long Island will not pay rebates until it has been verified that the Customer has received, as appropriate, final drawings, operation and maintenance manuals, and operator training.
5. Customer Application and Analysis
a) | In addition to completing the application, the Customer may be required by PSEG Long Island to provide an analysis of the demand and energy reduction potential of the proposed ECMs. In some cases, a Professional Engineer licensed in the state of New York must prepare the analysis. Nameplate data may be required at PSEG Long Island’s discretion.
b) | PSEG Long Island may review the Customer’s application and analysis to make an independent determination of the energy saving and demand reduction potential. PSEG Long Island reserves the right to reject or modify any calculations, based on PSEG Long Island’s own analysis.
6. Site-Specific Custom Measures
PSEG Long Island will only approve of those site-specific Custom ECMs that PSEG Long Island believes have cost-effective energy and/or demand reduction potential. In any case, PSEG Long Island reserves sole discretion to approve or disapprove of payment of rebates for any such proposed ECMs.
7. Rebate Amounts
a) | Before pre-approving any rebate amounts requested by the Customer, PSEG Long Island reserves the right to adjust the rebate amount.
b) | Once a rebate amount is pre-approved, PSEG Long Island will pay the customer no more than 70% of the installed cost of the ECM, or the pre-approved rebate amount, whichever is less.
c) | PSEG Long Island reserves the right to lower the rebate amount if the quantity and/or cost of ECMs actually installed by the Customer differ from the pre-approved amounts.
d) | Notwithstanding any other provision of these Terms and Conditions, PSEG Long Island reserves the right to a refund of any rebates paid if, at any time, it learns that any agreed to ECMs were not actually, or properly installed, or have subsequently been disconnected.
e) | Custom Applications – The approved rebate cannot exceed PSEG Long Island’s electric savings benefits, as determined by PSEG Long Island through its analysis of the project
f) | PSEG Long Island reserves the right to withhold payment or to award the rebate in the form of a bill credit. Customers in arrears at the time of rebate payment may not be eligible to receive a rebate.
g) | The UL classification of Energy Verification Services (EVS) for the appropriate product classification is required. PSEG Long Island reserves the right to withhold rebate payments for or disqualify any ECM’s that do not carry the Underwriter’s Laboratory (UL) Classification Mark or, with the written consent of PSEG Long Island, an equivalent independent efficiency and product safety certification organization.
8. ECM and Installation Proof of Payment
a) | The Customer must provide copies of all invoices (including itemization of all materials, labor, and equipment discounts) reflecting the costs of purchasing and installing the ECMs. The invoices shall include a breakdown of all ECMs purchased for installation under the Program. In addition, PSEG Long Island may require any other reasonable documentation or verification of the cost to the Customer of purchasing and installing the ECM. PSEG Long Island may require invoices from Customer’s contractor to determine the price paid by the contractor (including any discounts or rebates) for the ECMs. For custom ECMs, PSEG Long Island reserves the right to use the contractor’s reasonable costs in order to determine the correct rebate amount.
b) | PSEG Long Island may require copies of the construction specifications, including relevant ECMs, provided to the construction/installation contractors for certain Projects. PSEG Long Island may refuse to pay rebates if the specifications do not adequately provide for installation of the ECMs consistent with good engineering and energy-efficient design practices. Customer will, upon request by PSEG Long Island, provide a copy of the as-built drawings and equipment submittals for the facility.
c) | Title to all of the equipment purchased under this agreement shall rest with the Customer.
9. Installation Service Costs Recognized
PSEG Long Island will recognize installation costs only to the extent that they are determined by PSEG Long Island to be reasonable and actually incurred by the Customer.
10. Contractor Shared Savings Arrangements
If Custom ECMs are being installed by Customer’s contractor under a “shared savings” contract or other situation where the customer’s contract is not based upon the price of installed equipment, PSEG Long Island reserves the right to determine the cost of purchasing and installing the ECMs based on the reasonable retail costs in purchasing the equipment and installing the ECMs.
11. Date of Rebate Payments
PSEG Long Island expects to pay the rebate within sixty (60) days after all of the following conditions are met: (1) construction/renovation of Customer’s facility is completed; (2) Customer has received an occupancy permit; and (3) PSEG Long Island has verified equipment and installation costs and satisfactory installation of the ECMs, all in accordance with the specifications. (4) All documents required by the application have been received by PSEG Long Island.
12. Replacement of Burn-Outs
Customers who install energy-efficient lighting ECMs are expected to replace any of the energy-efficient lights that burn out with lights of similar or superior energy savings efficiency at the Customer’s expense.
13. Monitoring and Evaluation Follow-up Visits
a) | PSEG Long Island reserves the right to make a reasonable number of installation follow-up visits to Customer’s Facility during the 24 months following the actual completion date noted on this application. Such visit(s) are not meant to inconvenience the Customer, PSEG Long Island, and the Customer agrees to provide access within a reasonable timeframe of receiving the request for a follow up visit.
b) | The purpose of the follow-up visit(s) is to provide PSEG Long Island with an opportunity to review the operation of the ECMs for program evaluation purposes.
14. Limited Scope of Review
PSEG Long Island is under no obligation to: (1) make follow-up visits, (2) review the operation of the ECMs, or (3) make any suggestions of any kind to the Customer.
The scope of review by PSEG Long Island of the design and installation of the ECMs is limited solely to determining whether Program conditions have been met. It does not include any kind of safety review.
15. Changes in the Program
a) | PSEG Long Island may change the program and the Terms & Conditions at any time without notice. PSEG Long Island, however, will process pre-approved applications, to completion under the Terms & Conditions in effect at the time of the pre-approval.
b) | PSEG Long Island reserves the right, for any reason, to stop pre-approving ECMs at any time without notice. In particular, PSEG Long Island is not obligated to pre-approve any application for an rebate that may result in PSEG Long Island exceeding its program budget
c) | The Program described in the application may be altered, suspended, or canceled by PSEG Long Island at any time without prior notice. Under such circumstances, the Customer is not entitled to any Program benefits in excess of those approved prior to such action by PSEG Long Island. Submission of a completed application does not entitle the Customer to program participation. Entitlement to Program participation can only occur after PSEG Long Island has signed a copy of the application and granted pre-approval
16. Payments Assignable to Contractors
The Customer may direct that rebates be paid directly to the Customer’s contractor. This request must be made expressly in writing.
17. Publicity of Customer Participation
PSEG Long Island may publicize the Customer’s participation in the Program, the results, the amount of rebates paid to the Customer, and any other information which reasonably relates to the Customer’s participation.
18. Installation Schedule Requirements
Where there is no deadline indicating otherwise on the application, PSEG Long Island may terminate the application and any approved rebate if the Customer is not engaged in installation of the pre-approved ECMs by the end of 180 days from the date PSEG Long Island approves the Customer’s Retrofit application and One year for all Custom applications.
19. Limitation of Liability and Indemnification
PSEG Long Island’s liability is limited to paying the approved rebates. . Neither PSEG Long Island, nor its affiliates, subsidiaries, Manager, employees, consultants, agents and contractors (“PSEG Long Island Parties”) shall be liable to the Customer for any consequential or incidental damages or for any damages in tort (including negligence) caused by any activities associated with this application or the Program.
The Customer shall protect, indemnify, and hold harmless PSEG Long Island, and the PSEG Long Island Parties from and against all liabilities, losses, claims, damages, judgments, penalties, causes of action, costs and expenses (including, without limitation, attorney’s fees and expenses) imposed upon or incurred by or assessed against PSEG Long Island, and the PSEG Long Island Parties resulting from, arising out of, or relating to the Program.
20. No Warranties
a) | PSEG Long Island does not endorse, guarantee, or warrant any particular manufacturer or product, and PSEG Long Island provides no warranties, expressed or implied, for any product or services.
b) | The Customer acknowledges that neither PSEG Long Island nor any of the PSEG Long Island Parties are responsible for assuring that the design, engineering and construction of Customer’s Project or that the installation of the ECMs is proper or complies with any particular laws (including patent laws), codes, or industry standards. PSEG Long Island does not make any representations of any kind regarding the results to be achieved by the ECMs or the adequacy or safety of such measures.
21. Customer Must Pay All Taxes
The benefits conferred upon the Customer through participation in this program may be taxable by the federal, state, and local government. The Customer is responsible for declaring any benefits and paying any associated taxes.
22. Pre-Approval Letter
After an application is approved by PSEG Long Island’s authorized executive, the Customer will receive written notification of the pre-approved rebate amount and the date that the ECMs must be fully installed to qualify for rebate payments. Any ECMs installed prior to the issuance of PSEG Long Island’s written authorization will be deemed as an unauthorized installation and PSEG Long Island will have no obligation to pay rebates for those ECMs.
23. Vendor Selection
It is the Customer’s responsibility to select a vendor to perform the work indicated on the Customer’s Application.
24. Removal of Equipment
The Customer agrees, as a condition of participation in the Program, to remove and dispose of all equipment being replaced by the ECMs and further agrees to carry out such removal and disposal in accordance with all laws, rules, and regulations. The Customer agrees not to reinstall any of this equipment in the Service Area of PSEG Long Island.
25. Miscellaneous
a) | By providing a telephone number you are giving consent to be contacted at that number about matters that are closely related to the utility service.
b) | These Terms and Conditions and program requirements outline the conditions under which PSEG Long Island will pay rebates. These Terms and Conditions are subject to change at PSEG Long Island’s discretion.
c) | If any provision of the Terms and Conditions is deemed invalid by any court or administrative body having jurisdiction, such ruling shall not invalidate any other provision, and the remaining Terms and Conditions shall remain in full force and effect in accordance with their terms.
d) | The Customer’s acceptance of final payment releases PSEG Long Island from all claims and liabilities to the Customer, and its representatives or assigns.
| I have read and understand the terms and conditions detailed above. |  | (initials)
| Application Version: | 11.06.2023_1.0 |  | Effective: | 11.06.2023

## Guidelines
2024 Commercial Efficiency Program
Guidelines
Rebate Guidelines
* | Do not use this application for Interior or Exterior Lighting and HVAC rebates. For HVAC and Lighting rebates please visit:
https://www.psegliny.com/businessandcontractorservices/businessandcommercialsavings/businessandcommercialrebates
* | Only Common Areas of Multi Family buildings qualify under the Commercial Refrigeration Program.
* | Pre-approval is required.
* | Pre-inspection is required for all buildings. If there is no existing building (vacant lot) pre-inspection will not be required.
* | Project must be started after 11/06/2023 and completed within 180 days for existing buildings and 365 for new construction, where there is a vacant lot at time of application submittal.
* | All projects are subject to Post-inspection.
* | If the proposed equipment is listed in the measure-specific eligibility tables, the rebate amount will be determined according to corresponding worksheet, one of which must be completed for each measure type.
* | If the proposed equipment is not listed in any measure-specific eligibility table, refer to the Custom/Custom Retrofit Eligibility requirements and documentation in the Standard Commercial Rebate Application and contact a PSEG Long Island Representative or PSEG Long Island's Infoline at 1-800-692-2626. Rebate eligibility and amount will be calculated on a case by case basis.
* | Eligible equipment may be updated or modified regularly. For the most recent applications and worksheets please visit:
https://www.psegliny.com/businessandcontractorservices/businessandcommercialsavings/businessandcommercialrebates
* | Only applications and worksheets in effect at the time of submittal will be accepted.
* | Where eligible products are required to be listed with an approved rating agency (i.e. ENERGY STAR, CEE, or other approved equivalent), products must be installed and used in accordance with the rating condition for which it was approved at the time such approval was given.
* | All measures must carry the appropriate designated Underwriters Laboratory (UL) or Electrical Testing Laboratory (ETL) label.
* | All installations must be installed in accordance with all applicable local, state and national codes and ordinances.
* | Measure-specific eligibility requirements and deadlines apply. See appropriate Eligibility Requirements for each application type.
* | Total rebates will be capped at 70% of total project cost.
* | If submitting electronically, applicant must either submit an e-mail in lieu of signature or provide a hard copy with signature (fax, pdf, printed original, etc.).
* | If customer has participated in any other state or utility sponsored rebate program, related to the technology in this application, please contact a PSEG Long Island Representative to determine whether the project is also eligible under this program.
Program Requirements/Steps to Participate
* | Before you purchase and install equipment, send the following to PSEG Long Island to receive your Pre-Approval Letter:
* | Completed Customer Information section of application and appropriate worksheets. (Incomplete applications will not be accepted)
* | Submit required documents (see Required Documents Check sheet)
For Electronic Submissions e-mail documents to:
CEPLI@pseg.com
Each required document must be a separate file (no zipped files)
Applications must be saved as: RefrigerationApplication_<<<customer Name>>MMDDYYYY.xls
*Please note, you may also complete and submit project applications and documents through the Online Application found in the Lead Partner Portal
|  | For Online Submissions: | www.pseglinyportal.com
For Hardcopy Submissions: PSEG Long Island CEP, 395 North Service Rd, Suite 409, Melville, NY 11747
* | AFTER you receive your Pre-Approval Letter, complete the project.
* | Once Project is Complete:
* | Submit copies of customer validated proof of payment (i.e. itemized invoice) showing the facility address, date and place of purchase and the model/part numbers of installed equipment.
* | A PSEG Long Island representative will contact you to schedule a post-inspection.
* | After verification that all necessary requirements have been met, a PSEG Long Island representative will authorize payment and either mail a check to the applicant/assignee or apply a bill credit to the applicant’s account.
| I have read and understand the Guidelines listed above. |  |  | (initials)
| Application Version: | 11.06.2023_1.0 |  |  | Effective: | 11.06.2023

## Required Documents
2024 Commercial Efficiency Program
Required Documents Check Sheet
Required Documents for Refrigeration Projects
Document: |  | Responsible Party |  |  | Deliverable Timeline
|  | Customer |  |  | Pre-Installation
|  | Customer/Applicant |  |  | Pre-Installation
|  | Customer |  |  | Pre-Installation
|  | Customer/Applicant |  |  | Pre-Installation
|  | PSEG Long Island Project Manager |  |  | Pre-Installation
|  | PSEG Long Island Project Manager |  |  | Pre-Installation
|  | Customer |  |  | Pre-Installation
|  | Customer |  |  | Post-Installation
|  | Customer |  |  | Post-Installation
I have read and understand the information listed above. |  |  | (initials)
Any hard copy documents provided by Customer must be scanned and uploaded by Project Manager
For PSEG Long Island Use Only:
o Submitted and authorized by: |  |  |  |  | PSEG Long Island Project Manager
o Verified by: |  |  |  |  | Rebate Processing
| Final Invoice(s) Match Pre-Approved Amount within 10% |  |  | PM Initial
Application Version: | 11.06.2023_1.0 |  |  | Effective: | 11.06.2023
Completed Worksheet
New Equipment
Replacement Equipment
Assignment Letter (only required if rebate is assigned to contractor)
Cut Sheets for All Measures (must identify model number)
Proof of Payment (reflecting total installed cost)
W9 Form
Certification of Completion
Pre-Inspection
Completed Worksheet
Vendor's Proposal (including itemized labor and materials)
Signed Application

## Worksheet
2024 Commercial Efficiency Program
Refrigeration Rebate Worksheet
If the proposed equipment either does not meet the eligibility requirements or is not listed below, the applicant may still may be eligible for a Custom Rebate. Contact a PSEG Long Island representative or the PSEG Long Island infoline at 1-800-692-2626. Equipment that qualifies for more than one rebate category may receive multiple rebates. For example, a single control unit that controls two separate walk-in coolers may qualify for (2) $500 rebates; a single control unit that provides evaporator fan control AND anti-sweat heater control qualifies for BOTH R200 and R400 categories.
Eligibility Table & Worksheet - Fill in gray shaded areas with project information to determine rebate
Measure Code | Description | Rebate per unit | Unit | Quantity | Additional Attribute | Measurement | Eligibility Criteria |  | Sample Photo | Total $
Refrigerated Case Lighting
R101 | LED Refrigerated Case Lighting (in Refrigerator) - R101 | $50 per fixture | fixture |  | n/a |  | * For linear LED applications in refrigerated cases (coolers and freezers) * Eligible equipment must be listed with the DesignLights Consortium (www.designlights.org) * Replacement of first generation LEDs is permitted
R105 | LED Refrigerated Case Lighting (in Freezer) - R105 | $50 per fixture | fixture
Evaporator Fan Control
R200 | Walk In Cooler and Freezer evaporator fan control - R200 | $500 per controller | Number of Controllers |  | Case Type |  | Total Number of Fans | * Must be designed to reduce the airflow of evaporator fans in walk-in coolers and freezers when the compressor(s) cycle off and no refrigerant flows through the evaporator * Minimum fan load of 1/20 horsepower when the fan(s) operate continuously at full speed * Must reduce fan motor power by at least 75 percent when the compressor(s) cycle off * Rebates are available for controls added to new or existing equipment * Rebates are calculated per controller * Evaporator fan motors that are less than 1 hp and less than 460 V shall use electronically commutated motors (brushless direct-current motors) or three-phase motors
|  |  | Total horsepower of all fan(s) |  | Motor Type |  | Horsepower per Fan
Refrigerated Case Light Occupancy Controls
R210 | Case Light Occupancy Controls - R210 | $10 per linear foot | linear foot |  | n/a |  | * Occupancy Controls rebates are available for existing equipment only; New Construction or replacement units do not qualify * LED power must be less than 4.0 watts per linear foot
Floating Head Pressure Controls
R220 | Floating Head Pressure Controls - R220 | $20 per hp | Horsepower Calculation Method |  | Number of Phases (1 or 3) |  | * Floating Head Pressure Controls rebates are available for retrofiting existing equipment only; New Construction does not qualify * Single-compressor systems that do not have variable-capacity capability * Compressor horsepower capacity rating must be greater than 1 hp * Must replace existing constant pressure or manually controlled systems * Must achieve reduced head pressure in order to maintain a minimum saturated condensing temperature of 70 °F, or a 20 °F variance below design heat pressure during mild weather conditions. * Voltage, Rated Load Amps (RLA), and the Number of Phases must be obtained from the compressor's nameplate. * If any of this information is not available on the nameplate, then the compressor's horsepower capacity is generally embedded in the compressor's Model Number; The applicant may need to consult the manufacturer spec sheets to decipher the model number correctly - The horsepower rating can then be input directly into cell H16 *Participant must select System Size and Type |  |  |  | No Selection
|  |  | Rated Voltage (Volts) |  | Rated Load Amps (RLA, Amps) | [5 empty] | Calculate from Nameplate Data
|  |  | Calculated Horsepower (hp) | Input hp capacity in cell H16 | Direct Horsepower Input from Model Number (hp) | [5 empty] | Direct Input from Model Number
System Size & Type
Electronically Commutated Motors [ECM]
R300 | ECM in Walk In Cooler - R300 | 100 | unit |  | Horsepower of CFM |  | * ECM rebates are available for existing equipment only; New Construction or replacement units do not qualify * For replacement of standard efficiency shaded-pole or permanently split capacitor evaporator fan motors with brushless DC motors (electronically commutated motors [ECM]) * Use measure code R300 for existing equipment replacement in a walk in cooler * Use measure code R310 for existing equipment replacement in a display case * Evaporator fan motors that are less than 1 hp and less than 460 V shall use electronically commutated motors (brushless direct-current motors) or three-phase motors * Condenser fan motors that are less than 1 hp shall use electronically commutated motors, permanent split-capacitor-type motors, or three-phase motors
R300-N | ECM in Walk In Cooler | 50 | unit |  | Horsepower of CFM
R310 | ECM in Display Case - R310 | 60 | unit |  | Horsepower of CFM
R310-N | ECM in Display Case | 40 | unit
Refrigerated Case Door Heater Controls
R400 | Anti-Sweat Heater Controls - R400 | 500 | controlled refrigerator or freezer |  | System Type |  | * Anti-Sweat Heater Control rebates are available for existing equipment only; New Construction or replacement units do not qualify * Controls must be based on relative humidity in the air surrounding the display case and reduce the operation of, or turn off, the anti-sweat heaters of the glass door (if applicable) and door frame during periods of low humidity * Equivalent technologies that reduce or turn off anti-sweat heaters depending on the level of condensation on the inner glass pane may qualify * Rebates are calculated for each door heater circuit controlled * Excludes triple pane and heater-less doors
ENERGY STAR Refrigerators and Freezers
R500 | ENERGY STAR Refrigerator (Solid Door) - R500 | 110 | unit |  | Volume (cubic feet) |  | * Must be ENERGY STAR-certified
R510 | ENERGY STAR Refrigerator (Glass Door) - R510 | 45 | unit
R520 | ENERGY STAR Freezer (Solid Door) - R520 | 205 | unit
R530 | ENERGY STAR Freezer (Glass Door) - R530 | 205 | unit
ENERGY STAR Icemakers
R540 | ENERGY STAR Icemaker - R540 | 125 | unit |  | Harvest Rate (lb/day) |  | * Must be ENERGY STAR-certified
System Type
Insulation and Leakage Prevention Measures and Equipment
R550 | Refrigerator Zero Energy Doors - R550 | $35 per door | door |  | n/a |  | * Three panes of glass, a low conductivity filler gas (such as argon), and/or a low-E coating on the glass * Baseline is a freezer door with an anti-sweat heater w/o controls
R560 | Freezer Zero Energy Doors - R560 | $150 per door | door
R570 | Refrigerator Case Door Retrofit - Install Doors - R570 | $55 per linear foot | linear foot |  |  |  | * Retrofit of open multi-deck cooler cases with solid glass doors * Applicable mostly in groceries and convenience stores
R580 | Freezer Case Door Retrofit - Install Doors - R580 | $55 per linear foot | linear foot
R590 | Walk-in Cooler Door Strip Curtains - R590 | $5 per sq ft of door | sq ft of door |  |  |  | * Strip Curtain rebates are available for existing equipment only; New Construction or replacement units do not qualify * Must be installed on walk-in coolers or freezers with ineffective or no existing strip curtains * Low temperature curtains must be used for freezer applications
R600 | Walk-in Freezer Door Strip Curtains - R600 | $5 per sq ft of door | sq ft of door
R610 | Refrigerator Case Night Covers - R610 | $10 per linear foot | linear foot |  |  |  | * Installation of night covers on open reach-in refrigerated cases during unoccupied hours * Must be in use at least 3 hours per day
R620 | Freezer Case Night Covers - R620 | $10 per linear foot | linear foot
R630 | Walk-in Refrigerator Automatic Door Closer - R630 | $65 per closer | closer |  |  |  | * Door Closer rebates are available for existing equipment only; New Construction or replacement units do not qualify * This measure consists of the installation of an automatic, hydraulic-type door closer on main walk-in cooler or freezer doors * These closers save energy by reducing the infiltration of warm outside air into the refrigeration itself
R640 | Walk-in Freezer Automatic Door Closer - R640 | $65 per closer | closer
R650 | Refrigerator Case Door Gasket - R650 | $4 per linear foot | linear foot |  |  |  | * Door Gasket rebates are available for existing equipment only; New Construction or replacement units do not qualify * This measure is the replacement of reach-in and walk-in refrigerated display case door gaskets
R660 | Freezer Case Door Gasket - R660 | $5 per linear foot | linear foot
[9 empty] | Total Rebate Amount: | 0
Project Summary
|  | Total Project Rebate |  |  | Total kWh Savings |  | Total kW Savings
|  | 0 |  |  | 0 |  | 0
*Please note, if you are participating in the Patchogue Program, the values in the above table correlate with the values required for input in the Program Bonus Tool
Application Version: | 11.06.2023_1.0 | [7 empty] | Effective: | 11.06.2023

## Inspection (hidden)
2024 Commercial Efficiency Program
Refrigeration Inspection Form 2024 version - 1.0
Project ID : |  |  |  | Confirmation
Account Name : |  |  |  | Inspector Name: |  | Signature :
Facility Address :
City: |  |  |  | Inspector Company Name: |  | Date:
Contact Name / Title :
Phone : |  |  |  | Customer Name: |  | Customer Signature:
Cell :
Building Type: | Select…
Additional Projects to Inspect:
Location/Designation | Description | Qty. | Manufacturer | Model No. | Verified | Comments
#N/A
Pre-Inspection
Post-Inspection